  Zuzlewski Stéphane                                                                                                   October 1999

[image: image1.png]UC Berkeley | Seismalogical Laboratory




[image: image2.png]



[image: image3.png]NCEDC ;| ..
UcCB/USGS




[image: image4.emf][image: image5.emf]


Volume III                                                                                                                    Version 1.4.2


1.- Introduction. ..........................................................…………………………...
2

2.- Database structure. ........................................…………………………..........
3
3.- Database relations. ...................................…………………………................
12
4.- Database attributes. .......................…………………………..........................
20
1.- Introduction :

This paper is about the design of the NCEDC schema for the hardware tracking. This schema was designed to be able to track any station from the sensor to the datalogger by their serial numbers. It can also generate automatically the instrument responses schema.

There are 28 relations in the schema. The information stored in these relations includes:

· Responses description (high-pass, low-pass, FIR filters; Poles & zeros; Polynomial).

· Sensors and components information.

· Analog filters, amplifiers information.

· Dataloggers, digitizers information.

· Dataloggers logical channels information.

· Tracking information.

The remainder of this volume consists of four chapters:


Chapter 2 

Database structure




Each relation is defined.


Chapter 3

Database relations
Each relation is described to identify the key fields and the links among the relations.


Chapter 4

Database attributes




Each attribute is described.

2.- Database structure :


This chapter defines the physical structure of each table, as it exists within the DBMS data dictionary. The name of the relation appears in bold print at the top left and a description of the table at the top right. Bold attributes represent primary keys, italic attributes represent foreign keys, and underlined attributes stand for CSS attributes.
Response XE "Response"              Summary information on a sequence of responses

Attribute
Type
Description

seqresp_id
int
Sequence of responses identifier

resp_nb
int
Response number

resp_type
char(1)
Response type

resp_id
int
Response identifier

unit_in
int
Signal input units

unit_out
int
Signal output units

r_type
char(1)
SEED response type

lddate
date
Load date

Response_HP XE "Response_HP"                  Summary information on a high-pass filter

Attribute
Type
Description

hp_id
int
Filter identifier

filter_type
char(2)
Filter type

nb_pole
int
Number of poles

corner_freq
float
Corner frequency of filter

damping_value
float
Fraction of critical damping

lddate
date
Load date

Response_LP XE "Response_LP"                   Summary information on a low-pass filter

Attribute
Type
Description

lp_id
int
Filter identifier

filter_type
char(2)
Filter type

nb_pole
int
Number of poles

corner_freq
float
Corner frequency of filter

damping_value
float
Fraction of critical damping

lddate
date
Load date

Response_PZ XE "Response_PZ"                       Summary information on poles & zeros

Attribute
Type
Description

pz_id
int
Poles & zeros identifier

pz_nb
int
Pole/zero number

type
char(1)
Pole/Zero

r_value
float
Real pole/zero

r_error
float
Real pole/zero error

i_value
float
Imaginary pole/zero

i_error
float
Imaginary pole/zero error

lddate
date
Load date

Response_PN XE "Response_PN"                        Summary information on a polynomial

Attribute
Type
Description

pn_id
int
Polynomial identifier

name
char(80)
Polynomial name

poly_type
char(1)
Type of polynomial approximation

lower_bound
float
Polynomial lower bound

upper_bound
float
Polynomial upper bound

max_error
float
Maximum error of polynomial approx.

nb_coeff
int
Number of polynomial coefficients

lddate
date
Load date

Response_PN_Data XE "Response_PN_Data"                              Coefficients of a polynomial

Attribute
Type
Description

pn_id
int
Polynomial identifier

pn_nb
int
Coefficient number

pn_value
float
Coefficient value

Sensor XE "Sensor"                                            Summary information on a sensor

Attribute
Type
Description

sensor_id
int
Sensor identifier

name
char(80)
Sensor name

serial_nb
char(80)
Sensor serial number

ondate
date
Start date

offdate
date
Off date

nb_component
int
Number of components

lddate
date
Load date

Sensor_Component XE "Sensor_Component"                                       Component of a sensor

Attribute
Type
Description

sensor_id
int
Sensor identifier

component_nb
int
Component number

channel_comp
char(2)
Channel

component_type
char(1)
Type

sensitivity
float
Sensitivity

frequency
float
Frequency

seqresp_id
int
Sequence of responses identifier

lddate
date
Load date

Filamp XE "Filamp"                             Summary information on a filter-amplifier

Attribute
Type
Description

filamp_id
int
Filter-amplifier identifier

name
char(80)
Filter-amplifier name

serial_nb
char(80)
Filter-amplifier serial number

ondate
date
Start date

offdate
date
Off date

nb_pchannel
int
Number of physical channels

lddate
date
Load date

Filamp_PChannel XE "Filamp_PChannel"                    Physical channel of a filter-amplifier

Attribute
Type
Description

filamp_id
int
Filter-amplifier identifier

pchannel_nb
int
Physical channel number

gain
float
Gain

frequency
float
Calibration frequency

seqresp_id
int
Sequence of responses identifier

lddate
date
Load date

Datalogger XE "Datalogger"                              Summary information on a datalogger

Attribute
Type
Description

data_id
int
Datalogger identifier

data_type
char(80)
Datalogger type

serial_nb
char(80)
Datalogger serial number

firmware_nb
char(80)
Datalogger firmware number

software
char(80)
Software (ushear, mshear, …)

software_nb
char(80)
Software version number

ondate
date
Start date

offdate
date
Off date

nb_board
int
Number of boards

word_32
int
32 bit word order

word_16
int
16 bit word order

lddate
date
Load date

Datalogger_Board XE "Datalogger_Board"                                           Board of a datalogger

Attribute
Type
Description

data_id
int
Datalogger identifier

board_nb
int
Board number

serial_nb
char(80)
Board serial number

nb_module
int
Number of modules

lddate
date
Load date

Datalogger_Module XE "Datalogger_Module"                         Module of a datalogger’s board

Attribute
Type
Description

data_id
int
Datalogger identifier

board_nb
int
Board number

module_nb
int
Module number

serial_nb
char(80)
Module serial number

sensitivity
float
Sensitivity

lddate
date
Load date

Filter_FIR XE "Filter_FIR"                                Summary information on a FIR filter

Attribute
Type
Description

fir_id
int
FIR filter identifier

name
char(80)
Filter name

symmetry
char(1)
Filter symmetry

gain
float
Filter gain

lddate
date
Load date

Filter_FIR_Data XE "Filter_FIR_Data"                                      Coefficients of a FIR filter

Attribute
Type
Description

fir_id
int
FIR filter identifier

coeff_nb
int
Numerator/denominator number

type
char(1)
Numerator/Denominator

coefficient
float
Numerator/denominator coefficient

error
float
Numerator/denominator error

Filter XE "Filter"                                                Summary information on a filter

Attribute
Type
Description

filter_id
int
Filter identifier

gain
float
Filter gain

frequency
float
Frequency for filter gain

in_sp_rate
float
Input sample rate

out_sp_rate
float
Output sample rate

offset
int
Decimation offset

delay
float
Estimated delay

correction
float
Correction applied

seqresp_id
int
Sequence of responses identifier

lddate
date
Load date

Filter_Sequence XE "Filter_Sequence"        Summary information on a sequence of filters

Attribute
Type
Description

seqfil_id
int
Sequence of filters identifier

name
char(32)
Sequence of filters name

nb_filter
int
Number of filters

gain
float
Overall gain

frequency
float
Frequency

lddate
date
Load date

Filter_Sequence_Data XE "Filter_Sequence_Data"                                        Filter of a sequence

Attribute
Type
Description

seqfil_id
int
Sequence of filters identifier

filter_nb
int
Filter number

filter_id
int
Filter identifier

Station XE "Station"                                          Summary information on a station

Attribute
Type
Description

sta
char(6)
Station code

net
char(8)
Network code

lat
float
Latitude

lon
float
Longitude

elev
float
Elevation

staname
char(50)
Station description

nb_sensor
int
Number of sensors

nb_filamp
int
Number of filter-amplifiers

nb_digi
int
Number of digitizers

nb_data
int
Number of dataloggers

datumhor
char(8)
Datum type for latitude and longitude

datumver
char(8)
Datum type for vertical

ondate
date
Start date

offdate
date
Off date

lddate
date
Load date

Station_Sensor XE "Station_Sensor"                     Data associating a station with a sensor

Attribute
Type
Description

sta
char(6)
Station code

net
char(8)
Network code

sensor_nb
int
Sensor number

sensor_id
int
Sensor identifier

lat
float
Latitude

lon
float
Longitude

elev
float
Elevation

edepth
float
Emplacement depth

nb_component
int
Number of components

datumhor
char(8)
Datum type for latitude and longitude

datumver
char(8)
Datum type for vertical

ondate
date
Start date

offdate
date
Off date

lddate
date
Load date

Station_Sensor_Component XE "Station_Sensor_Component"       Data associating physical channels

Attribute
Type
Description

sta
char(6)
Station code

net
char(8)
Network code

sensor_nb
int
Sensor number

component_nb
int
Component number

next_hard_type
char(1)
Next hardware type

next_hard_nb
int
Next hardware number

next_hard_pchannel
int
Next hardware physical channel

azimuth
float
Azimuth

dip
float
Dip

ondate
date
Start date

offdate
date
Off date

lddate
date
Load date

Station_Filamp XE "Station_Filamp"       Data associating a station with a filter-amplifier

Attribute
Type
Description

sta
char(6)
Station code

net
char(8)
Network code

filamp_nb
int
Filter-amplifier number

filamp_id
int
Filter-amplifier identifier

nb_pchannel
int
Number of physical channels

ondate
date
Start date

offdate
date
Off date

lddate
date
Load date

Station_Filamp_PChannel XE "Station_Filamp_PChannel"         Data associating physical channels

Attribute
Type
Description

sta
char(6)
Station code

net
char(8)
Network code

filamp_nb
int
Filter-amplifier number

pchannel_nb
int
Physical channel number

next_hard_type
char(1)
Next hardware type

next_hard_nb
int
Next hardware number

next_hard_pchannel
int
Next hardware physical channel

ondate
date
Start date

offdate
date
Off date

lddate
date
Load date

Station_Digitizer XE "Station_Digitizer"                  Data associating a station with a digitizer

Attribute
Type
Description

sta
char(6)
Station code

net
char(8)
Network code

digi_nb
int
Digitizer number

serial_nb
char(80)
Digitizer serial number

nb_pri_pchannel
int
Number of primary physical channels

nb_aux_pchannel
int
Number of auxiliary physical channels

ondate
date
Start date

offdate
date
Off date

lddate
date
Load date

Station_Digitizer_PChannel XE "Station_Digitizer_PChannel"       Data associating physical channels

Attribute
Type
Description

sta
char(6)
Station code

net
char(8)
Network code

digi_nb
int
Digitizer number

pchannel_nb
int
Physical channel number

data_nb
int
Datalogger number

data_pchannel
int
Datalogger physical channel

digi_type
char(3)
Digitizer type

digi_polarity
char(1)
Digitizer polarity

digi_channel
int
Digitizer channel

ondate
date
Start date

offdate
date
Off date

lddate
date
Load date

Station_Datalogger XE "Station_Datalogger"           Data associating a station with a datalogger

Attribute
Type
Description

sta
char(6)
Station code

net
char(8)
Network code

data_nb
int
Datalogger number

data_id
int
Datalogger identifier

nb_pchannel
int
Number of physical channels

ondate
date
Start date

offdate
date
Off date

lddate
date
Load date

Station_Datalogger_PChannel XE "Station_Datalogger_PChannel"                 Data associating channels

Attribute
Type
Description

sta
char(6)
Station code

net
char(8)
Network code

data_nb
int
Datalogger number

pchannel_nb
int
Physical channel number

seed_io
char(2)
SEED instrument and orientation

nb_lchannel
int
Number of logical channels

ondate
date
Start date

offdate
date
Off date

lddate
date
Load date

Station_Datalogger_LChannel     XE "Station_Datalogger_LChannel" Summary information on a channel

Attribute
Type
Description

sta
char(6)
Station code

net
char(8)
Network code

data_nb
int
Datalogger number

pchannel_nb
int
Physical channel number

lchannel_nb
char(2)
Logical channel number

seqfil_id
int
Sequence of filters identifier

seedchan
char(3)
SEED channel name

channel
char(3)
Channel name

channelsrc
char(8)
Domain of channel name

location
char(2)
SEED location

rgain
float
Gain at the response frequency

rfrequency
float
Frequency for response

samprate
float
Sampling rate

clock_drift
float
Maximum clock drift

flags
char(27)
SEED channel flags

data_format
char(80)
Data format

comp_type
int
Compression type

unit_signal
int
Units of signal responses

unit_calib
int
Units of calibration

block_size
int
Block size

ondate
date
Start date

offdate
date
Off date

remark
char(30)
Optional comment

lddate
date
Load date

3.- Database relations :

This chapter describes the DBMS relations that comprise the version 1.4.2 schema. The information given here, along with that in Chapter 4, Database attributes, constitutes the data dictionary. There’s an entry for each relation. Within the entry, the relation’s name appears first, followed by a list of its attributes. A brief description completes the entry.

Name:

Response XE "Response" 
Keys:



Primary:
seqresp_id, resp_nb


Foreign:
resp_id, unit_in, unit_out

Data:

resp_type, r_type, lddate

Description:
This relation provides information about a sequence of responses.

Name:

Response_HP XE "Response_HP" 
Keys:



Primary:
hp_id


Foreign:

Data:

filter_type, nb_pole, corner_freq, damping_value, lddate

Description:
This relation describes a response defined by a high-pass filter.

Name:

Response_LP XE "Response_LP" 
Keys:



Primary:
lp_id


Foreign:

Data:

filter_type, nb_pole, corner_freq, damping_value, lddate

Description:
This relation describes a response defined by a low-pass filter.

Name:

Response_PZ XE "Response_PZ" 
Keys:



Primary:
pz_id, pz_nb, type


Foreign:

Data:

r_value, r_error, i_value, i_error, lddate

Description:
This relation describes a response defined by poles and zeros.

Name:

Response_PN XE "Response_PN" 
Keys:



Primary:
pn_id


Foreign:

Data:

name, poly_type, lower_bound, upper_bound, max_error, nb_coeff, lddate

Description:
This relation describes a response defined by a polynomial.

Name:

Response_PN_Data XE "Response_PN_Data" 
Keys:



Primary:
pn_id, pn_nb


Foreign:

Data:

pn_value

Description:
This relation provides information about the coefficients of a polynomial.

Name:

Sensor XE "Sensor" 
Keys:



Primary:
sensor_id


Foreign:

Data:

name, serial_nb, ondate , offdate, nb_component, lddate

Description:
This relation describes a sensor.

Name:

Sensor_Component XE "Sensor_Component" 
Keys:



Primary:
sensor_id, component_nb


Foreign:
seqresp_id

Data:

channel_comp, component_type, sensitivity, frequency, lddate

Description:
This relation describes a component of a sensor.

Name:

Filamp XE "Filamp" 
Keys:



Primary:
filamp_id


Foreign:

Data:

name, serial_nb, ondate , offdate, nb_pchannel, lddate

Description:
This relation describes a filter-amplifier.

Name:

Filamp_PChannel XE "Filamp_PChannel" 
Keys:



Primary:
filamp_id, pchannel_nb, frequency



Foreign:
seqresp_id

Data:

gain, lddate

Description:
This relation describes a physical channel of a filter-amplifier.

Name:

Datalogger XE "Datalogger" 
Keys:



Primary:
data_id


Foreign:

Data:

data_type, serial_nb, firmware_nb, software, software_nb, ondate, offdate, 


nb_board, word_32, word_16, lddate

Description:
This relation describes a datalogger.

Name:

Datalogger_Board XE "Datalogger_Board" 
Keys:



Primary:
data_id, board_nb


Foreign:

Data:

serial_nb, nb_module, lddate

Description:
This relation describes a board of a datalogger.

Name:

Datalogger_Module XE "Datalogger_Module" 
Keys:



Primary:
data_id, board_nb, module_nb


Foreign:

Data:

serial_nb, sensitivity, lddate

Description:    This relation describes a module of a datalogger’s board.

Name:

Filter_FIR XE "Filter_FIR" 
Keys:



Primary:
fir_id


Foreign:

Data:

name, symmetry, gain, lddate

Description:
This relation describes a FIR filter.

Name:

Filter_FIR_Data XE "Filter_FIR_Data" 
Keys:



Primary:
fir_id, coeff_nb


Foreign:

Data:

type, coefficient, error

Description:
This relation provides information about the coefficients of a FIR filter.

Name:

Filter XE "Filter" 
Keys:



Primary:
filter_id


Foreign:
seqresp_id

Data:

gain, frequency, in_sp_rate, out_sp_rate, offset, delay, correction, lddate

Description:
This relation describes a filter.

Name:

Filter_Sequence XE "Filter_Sequence" 
Keys:



Primary:
seqfil_id


Foreign:

Data:

name, nb_filter, gain, frequency, lddate

Description:
This relation describes a sequence of filters.

Name:

Filter_Sequence_Data XE "Filter_Sequence_Data" 
Keys:



Primary:
seqfil_id, filter_nb


Foreign:
filter_id

Data:

Description:
This relation provides information about the filters of a sequence.

Name:

Station XE "Station" 
Keys:



Primary:
sta, net, ondate


Foreign:

Data:

lat, lon, elev, staname, nb_sensor, nb_filamp, nb_digi, nb_data, datumhor, 


datumver, offdate, lddate

Description:
This relation describes and names a point of the earth where seismic 



measurements are made (e.g. the location of a seismic instrument or array).

Name:

Station_Sensor XE "Station_Sensor" 
Keys:



Primary:
sta, net, sensor_nb, ondate


Foreign:
sensor_id

Data:

lat, lon, elev, edepth, nb_component, datumhor, datumver, offdate, lddate

Description:
This relation describes a sensor for a particular station.

Name:

Station_Sensor_Component XE "Station_Sensor_Component" 
Keys:



Primary:
sta, net, sensor_nb, component_nb, ondate


Foreign:

Data:

next_hard_type, next_hard_nb, next_hard_pchannel, azimuth, dip, offdate, lddate

Description:
This relation describes a component of a sensor for a particular station.

Name:

Station_Filamp XE "Station_Filamp" 
Keys:



Primary:
sta, net, filamp_nb, ondate


Foreign:
filamp_id

Data:

nb_pchannel, offdate, lddate

Description:    This relation describes a filter-amplifier for a particular station.

Name:

Station_Filamp_PChannel XE "Station_Filamp_PChannel" 
Keys:



Primary:
sta, net, filamp_nb, pchannel_nb, ondate


Foreign:

Data:

next_hard_type, next_hard_nb, next_hard_pchannel, offdate, lddate

Description:
    This relation describes a physical channel of a filter-amplifier for a particular 

                        station.

Name:

Station_Digitizer XE "Station_Digitizer" 
Keys:



Primary:
sta, net, digi_nb, ondate


Foreign:

Data:

serial_nb, nb_pri_channel, nb_aux_channel, offdate, lddate

Description:     This relation describes a digitizer for a particular station.

Name:

Station_Digitizer_PChannel XE "Station_Digitizer_PChannel" 
Keys:



Primary:
sta, net, digi_nb, pchannel_nb, ondate


Foreign:

Data:

data_nb, data_pchannel, digi_type, digi_polarity, digi_channel, offdate, lddate

Description:     
This relation describes a physical channel of a digitizer for a particular station.

Name:

Station_Datalogger XE "Station_Datalogger" 
Keys:



Primary:
sta, net, data_nb, ondate


Foreign:
data_id

Data:

nb_pchannel, offdate, lddate

Description:
This relation describes a datalogger for a particular station.

Name:

Station_Datalogger_PChannel XE "Station_Datalogger_PChannel" 
Keys:



Primary:
sta, net, data_nb, pchannel_nb, ondate


Foreign:

Data:

seed_io, nb_lchannel, offdate, lddate

Description:     
This relation describes a physical channel of a datalogger for a particular station.

Name:

Station_Datalogger_LChannel XE "Station_Datalogger_LChannel" 
Keys:



Primary:
sta, net, data_nb, pchannel_nb, lchannel_nb, ondate


Foreign:
seqfil_id, comp_type, unit_signal, unit_calib

Data:

seedchan, channel, channelsrc, location, rgain, rfrequency, samprate, 



clock_drift, flags, data_format, block_size, offdate, remark, lddate

Description:     
This relation describes and names a particular channel for a particular station.

4.- Database attributes :


This chapter describes each of the attributes used in the version 1.4.2 schema. Descriptions of the relations are found in Chapter 3, Database relations.

Name:

azimuth XE "azimuth" 
Relations:
Station_Sensor_Component

Description:
The azimuth of the instrument from north, clockwise.

Datatype:
float

NULL Value:
Yes

Range:

0.0 ( azimuth ( 360.0

Units:               Degrees

Name:

block_size XE "block_size" 
Relations:
Station_Datalogger_LChannel

Description:
The record length of the data.

Datatype:
int

NULL Value:
No

Range:             256 ( block_size ( 4096

Name:

board_nb XE "board_nb" 
Relations:
Datalogger_Board, Datalogger_Module

Description:
This attribute represents the board number of a datalogger.

Datatype:
int

NULL Value:
No

Range:             board_nb ( 1

Name:

channel XE "channel" 
Relations:
Station_Datalogger_LChannel

Description:
Channel name.

Datatype:
char(3)

NULL Value:
Yes

Range:
             Any valid channel name, which may be network-specific. Networks using SEED                  
             channel names should use the same value for channel and seedchan

Name:

channel_comp XE "channel_comp" 
Relations:
Sensor_Component

Description:
Component channel.

Datatype:
char(2)

NULL Value:  Yes

Name:

channelsrc XE "channelsrc" 
Relations:
Station_Datalogger_LChannel

Description:
Domain for channel. This specifies what naming convention is used for the 


channel name (i.e. SEED, USGS, etc.).

Datatype:
char(8)

NULL Value:
Yes

Range:             Any free-format string up to 8 characters long

Name:

clock_drift XE "clock_drift" 
Relations:
Station_Datalogger_LChannel

Description:
A tolerance value, measured in seconds per sample, used as a thresold for time 


error detection in the data. The number of samples in a record are multiplied by 


this value to calculate a maximum drift allowed for the time in the next record. If 


the difference in time is less than this drift, consider them in the same time series.

Datatype:
float

NULL Value:
Yes

Range:

clock_drift ( 0.0

Units:              Seconds

Name:

coefficient XE "coefficient" 
Relations:
Filter_FIR_Data

Description:
The numerator/denominator coefficient value.

Datatype:
float

NULL Value: No

Name:

coeff_nb XE "coeff_nb" 
Relations:
Filter_FIR_Data

Description:
The numerator/denominator number.

Datatype:
int

NULL Value:
No

Range:             coeff_nb ( 1

Name:

comp_type XE "comp_type" 
Relations:
Station_Datalogger_LChannel

Description:
Compression type. A lookup key that refers to the Format 





Dictionary.

Datatype:
int

NULL Value:  No

Name:

component_nb XE "component_nb" 
Relations:
Sensor_Component, Station_Sensor_Component

Description:
This attribute represents the component number.

Datatype:
int

NULL Value:
No

Range:             component_nb ( 1

Name:

component_type XE "component_type" 
Relations:
Sensor_Component

Description:
This attribute denotes the component type.

Datatype:
char(1)

NULL Value:  Yes

Name:

corner_freq XE "corner_freq" 
Relations:
Response_HP, Response_LP

Description:
This attribute represents the corner frequency of a high/low-pass filter.

Datatype:
float

NULL Value:
No

Range:

corner_freq > 0.0

Units:              Hertz

Name:

correction XE "correction" 
Relations:
Filter

Description:
The time shift applied to the time tag due to delay at this stage of the filter; a 


negative number indicating the amount of time added to the former time tag. The 


actual delay is difficult to estimate, and the correction applied neglects dispersion. 

This field allows to know how much correction was used, in case a more accurate 


correction is to be applied later. A zero here implies no correction was done.

Datatype:
float

NULL Value:  No

Name:

damping_value XE "damping_value" 
Relations:
Response_HP, Response_LP

Description:
This attribute represents the fraction of critical damping of a high/low-pass filter.

Datatype:
float

NULL Value:  No

Name:

data_format XE "data_format" 
Relations:
Station_Datalogger_LChannel

Description:
This attribute represents the data format.

Datatype:
char(80)

NULL Value:
No

Range:

data_format ( { SEED | …}

                        SEED = SEED format

Name:

data_id XE "data_id" 
Relations:
Datalogger, Datalogger_Board, Datalogger_Module, Station_Datalogger

Description:
Datalogger identifier. Each datalogger is assigned a unique integer which 



identifies it in a database.

Datatype:
int

NULL Value:  No

Name:

data_nb XE "data_nb" 
Relations:
Station_Digitizer_PChannel, Station_Datalogger, 





Station_Datalogger_PChannel, Station_Datalogger_LChannel

Description:
This attribute represents the datalogger number.

Datatype:
int

NULL Value:
No

Range:             data_nb ( 1

Name:

data_pchannel XE "data_pchannel" 
Relations:
Station_Digitizer_PChannel

Description:
This attribute represents a datalogger physical channel.

Datatype:
int

NULL Value:
No

Range:             data_pchannel ( 1

Name:

data_type XE "data_type" 
Relations:
Datalogger

Description:
This attribute represents a datalogger type.

Datatype:
char(80)

NULL Value:
Yes

Range:             Any free-format string up to 80 characters long

Name:

datumhor XE "datumhor" 
Relations:
Station, Station_Sensor

Description:
Datum type for horizontal (latitude and longitude) coordinates.

Datatype:
char(8)

NULL Value:
Yes

Range:             datumhor ( { NAD27 | WGS84}

Name:

datumver XE "datumver" 
Relations:
Station, Station_Sensor

Description:
Datum type for depth or elevation.

Datatype:
char(8)

NULL Value:
Yes

Range:             datumver ( { NAD27 | WGS84 | AVERAGE }

                        AVERAGE = average of stations

Name:

delay XE "delay" 
Relations:
Filter

Description:
The estimated pure delay for the filter.

Datatype:
float

NULL Value:
Yes

Units:              Seconds

Name:

digi_channel XE "digi_channel" 
Relations:
Station_Digitizer_PChannel

Description:
This attribute represents a digitizer module on a board.

Datatype:
int

NULL Value:
No

Range:             digi_channel ( 1

Name:

digi_nb XE "digi_nb" 
Relations:
Station_Digitizer, Station_Digitizer_PChannel

Description:
This attribute represents the digitizer number.

Datatype:
int

NULL Value:
No

Range:             digi_nb ( 1

Name:

digi_polarity XE "digi_polarity" 
Relations:
Station_Digitizer_PChannel

Description:
This attribute represents the digitizer polarity.

Datatype:
char(1)

Null Value:
No

Range:             digi_polarity ( { N | … }

Name:

digi_type XE "digi_type" 
Relations:
Station_Digitizer_PChannel

Description:
This attribute represents the digitizer type.

Datatype:
char(3)

NULL Value:
No

Range:             digi_type ( { DSP | AUX }

Name:

dip XE "dip" 
Relations:
Station_Sensor_Component

Description:
The dip of the instrument, down from horizontal.

Datatype:
float

NULL Value:
Yes

Range:

-90.0 ( dip ( 90.0

Units:               Degrees

Name:

edepth XE "edepth" 
Relations:
Station_Sensor

Description:
Emplacement depth. This attribute gives the depth at which the instrument is 


positioned, relative to the value of elev.

Datatype:
float

NULL Value:
Yes

Range:

edepth ( 0.0

Units:              Kilometers

Name:

elev XE "elev" 
Relations:
Station, Station_Sensor

Description:
Elevation. This attribute is the elevation of a seismic station relative to mean sea 


level.

Datatype:
float

NULL Value:
Yes

Range:

-10.0 ( elev ( 10.0

Units:               Kilometers

Name:

error XE "error" 
Relations:
Filter_FIR_Data

Description:
This attributes denotes the numerator/denominator error.

Datatype:
float

NULL Value:  Yes

Name:

filamp_id XE "filamp_id" 
Relations:
Filamp, Filamp_PChannel, Station_Filamp

Description:
Filter-amplifier identifier. Each filter-amplifier is assigned a unique integer which 

identifies it in a database.

Datatype:
int

NULL Value:  No

Name:

filamp_nb XE "filamp_nb" 
Relations:
Station_Filamp, Station_Filamp_PChannel

Description:
This attribute represents the filter-amplifier number.

Datatype:
int

NULL Value:
No

Range:             filamp_nb ( 1

Name:

filter_id XE "filter_id" 
Relations:
Filter, Filter_Sequence_Data

Description:
Filter identifier. Each filter is assigned a unique integer which identifies it in a 


database.

Datatype:
int

NULL Value:  No

Name:

filter_nb XE "filter_nb" 
Relations:
Filter_Sequence_Data

Description:
This attribute represents the filter number in a sequence.

Datatype:
int

NULL Value:
No

Range:             filter_nb ( 1

Name:

filter_type XE "filter_type" 
Relations:
Response_HP, Response_LP

Description:
This attribute denotes the type of a high/low-pass filter.

Datatype:
char(2)

NULL Value:
No

Range:

filter_type ( { BW | DG | ND }



BW = butterworth



DG = damping given

                        ND = no damping

Name:

fir_id XE "fir_id" 
Relations:
Filter_FIR, Filter_FIR_Data

Description:
FIR Filter identifier. Each FIR filter is assigned a unique integer which identifies 


it in a database.

Datatype:
int

NULL Value:  No

Name:

firmware_nb XE "firmware_nb" 
Relations:
Datalogger

Description:
This attribute describes the firmware number of a datalogger.

Datatype:
char(80)

NULL Value:
Yes

Range:             Any free-format string up to 80 characters long

Name:

flags XE "flags" 
Relations:
Station_Datalogger_LChannel

Description:
Channel flags.

Datatype:
char(27)

NULL Value:
Yes

Range:

Any combination of {T | C | H | G | W | F | S | I | E | M | B}



T = channel is trigered



C = channel is recorded continuously



H = state of health data



G = geophysical data



W = weather or environmental data



F = flag information (nominal, not ordinal)



S = synthesized data



I = channel is a calibration input



E = channel is experimental or temporary



M = maintenance tests are underway on channel; possible abnormal data

                        B = data are a beam synthesis

Name:

frequency XE "frequency" 
Relations:
Sensor_Component, Filter, Filter_Sequence, Filamp_PChannel
Description:
The frequency (fs) at which the value in sensitivity/gain is correct.

Datatype:
float

NULL Value:
Yes

Range:

frequency > 0.0

Units:

Hertz

Name:

gain XE "gain" 
Relations:
Filamp_PChannel, Filter, Filter_Sequence, Filter_FIR

Description:
This attribute denotes the gain.

Datatype:
float

NULL Value:
Yes

Name:

hp_id XE "hp_id" 
Relations:
Response_HP

Description:
High-pass filter identifier. Each high-pass filter is assigned a unique integer which 

identifies it in a database.

Datatype:
int

NULL Value:  No

Name:

i_error XE "i_error" 
Relations:
Response_PZ

Description:
The error value for the imaginary portion of a complex pole/zero.

Datatype:
float

NULL Value:
Yes

Name:

i_value XE "i_value" 
Relations:
Response_PZ

Description:
The imaginary portion of a complex pole/zero.

Datatype:
float

NULL Value:
No

Name:

in_sp_rate XE "in_sp_rate" 
Relations:
Filter

Description:
Sampling rate. This attribute is the input sample rate in samples/second.

Datatype:
float

NULL Value:
No

Range:

in_sp_rate > 0.0

Units:              1/seconds

Name:

lat XE "lat" 
Relations:
Station, Station_Sensor

Description:
Latitude. This attribute is the geographic latitude. Locations north of the equator 


have positive latitudes.

Datatype:
float

NULL Value:
Yes

Range:

-90.0 ( lat ( 90.0

Units:

Degrees

Name:

lchannel_nb XE "lchannel_nb" 
Relations:
Station_Datalogger_LChannel

Description:
This attribute denotes a logical channel of a datalogger.

Datatype:
int

NULL Value:
No

Range:             lchannel_nb ( 1

Name:

lddate XE "lddate" 
Relations:
Response, Response_HP, Response_LP, Response_PZ, Response_PN, Sensor, 

Sensor_Component, Filamp, Filamp_PChannel, Datalogger, 




Datalogger_Board, Datalogger_Module, Filter_FIR, Filter, Filter_Sequence, 


Station, Station_Sensor, Station_Sensor_Component, Station_Filamp, 


Station_Filamp_PChannel, Station_Digitizer, Station_Digitizer_PChannel, 


Station_Datalogger, Station_Datalogger_PChannel, 





Station_Datalogger_LChannel

Description:
Load date. Date and time that the record was created or last modified, in Oracle 

                       date datatype.

Datatype:
date

NULL Value:
No

Range:

Any valid date between January 01, 4712 BC and January 01, 4712 AD

Units:              YYYY/MM/DD HH24:MI:SS

Name:

location XE "location" 
Relations:
Station_Datalogger_LChannel

Description:
Describes the individual sites on an array station, operated by the same network 


operator.

Datatype:
char(2)

NULL Value:
Yes

Range:             Any free-format string up to 2 characters long

Name:

lon XE "lon" 
Relations:
Station, Station_Sensor

Description:
Longitude. This attribute is the geographic longitude. Longitudes are measured 


positive east of the Greenwich meridian.

Datatype:
float

NULL Value:
Yes

Range:

-180.0 ( lon ( 180.0

Units:               Degrees

Name:

lower_bound XE "lower_bound" 
Relations:
Response_PN

Description:
This attribute denotes the polynomial lower bound

Datatype:
float

NULL Value:
Yes

Name:

lp_id XE "lp_id" 
Relations:
Response_LP

Description:
Low-pass filter identifier. Each low-pass filter is assigned a unique integer which 


identifies it in a database.

Datatype:
int

NULL Value:  No

Name:

max_error XE "max_error" 
Relations:
Response_PN

Description:
This attribute represents the maximum error of polynomial approximation.

Datatype:
float

NULL Value:  Yes

Name:

module_nb XE "module_nb" 
Relations:
Datalogger_Module

Description:
This attribute represents the module number of a datalogger’s board.

Datatype:
int

NULL Value:
No

Range:             module_nb ( 1

Name:

name XE "name" 
Relations:
Response_PN, Sensor, Filamp, Filter_FIR, Filter_Sequence

Description:
This attribute denotes a descriptive name for a sensor, a filter-amplifier, a FIR 


filter, a chain of filters or a polynomial.

Datatype:
char(80)

NULL Value:
Yes

Range:             Any free-format string up to 80 characters

Name:

nb_aux_pchannel XE "nb_aux_pchannel" 
Relations:
Station_Digitizer

Description:
This attribute denotes the number of auxiliary physical channels of a digitizer.

Datatype:
int

NULL Value:
No

Range:             nb_aux_pchannel ( 0

Name:

nb_board XE "nb_board" 
Relations:
Datalogger

Description:
This attribute denotes the number of boards of a datalogger.

Datatype:
int

NULL Value:
No

Range:             nb_board ( 0

Name:

nb_coeff XE "nb_coeff" 
Relations:
Response_PN

Description:
This attribute denotes the number of polynomial coefficients.

Datatype:
int

NULL Value:
No

Range:             nb_coeff ( 0

Name:

nb_component XE "nb_component" 
Relations:
Sensor, Station_Sensor

Description:
This attribute denotes the number of components of a sensor.

Datatype:
int

NULL Value:
No

Range:             nb_component ( 0

Name:

nb_data XE "nb_data" 
Relations:
Station

Description:
This attribute denotes the number of dataloggers of a station.

Datatype:
int

NULL Value:
No

Range:             nb_data ( 0

Name:

nb_digi XE "nb_digi" 
Relations:
Station

Description:
This attribute denotes the number of digitizers of a station.

Datatype:
int

NULL Value:
No

Range:             nb_digi ( 0

Name:

nb_filamp XE "nb_filamp" 
Relations:
Station

Description:
This attribute denotes the number of filter-amplifiers of a station.

Datatype:
int

NULL Value:
No

Range:             nb_filamp ( 0

Name:

nb_filter XE "nb_filter" 
Relations:
Filter_Sequence

Description:
This attribute denotes the number of filters of a sequence.

Datatype:
int

NULL Value:
No

Range:             nb_filter ( 0

Name:

nb_lchannel XE "nb_lchannel" 
Relations:
Station_Datalogger_PChannel

Description:
This attribute denotes the number of logical channels of a datalogger.

Datatype:
int

NULL Value:
No

Range:             nb_lchannel ( 0

Name:

nb_module XE "nb_module" 
Relations:
Datalogger_Board

Description:
This attribute denotes the number of modules of a datalogger’s board.

Datatype:
int

NULL Value:
No

Range:             nb_module ( 0

Name:

nb_pchannel XE "nb_pchannel" 
Relations:
Filamp, Station_Filamp, Station_Datalogger

Description:
This attribute denotes the number of physical channels of a datalogger.

Datatype:
int

NULL Value:
No

Range:             nb_pchannel ( 0

Name:

nb_pole XE "nb_pole" 
Relations:
Response_HP, Response_LP

Description:
This attribute denotes the number of poles of a high/low-pass filter.

Datatype:
int

NULL Value:
No

Range:             nb_pole ( 0

Name:

nb_pri_pchannel XE "nb_pri_pchannel" 
Relations:
Station_Digitizer

Description:
This attribute denotes the number of primary physical channels of a digitizer.

Datatype:
int

NULL Value:
No

Range:             nb_pri_pchannel ( 0

Name:

nb_sensor XE "nb_sensor" 
Relations:
Station

Description:
This attribute denotes the number of sensors of a station.

Datatype:
int

NULL Value:
No

Range:             nb_sensor ( 0

Name:

net XE "net" 
Relations:
Station, Station_Sensor, Station_Sensor_Component, Station_Filamp, 


Station_Filamp_PChannel, Station_Digitizer, Station_Digitizer_PChannel, 


Station_Datalogger, Station_Datalogger_PChannel, 





Station_Datalogger_LChannel

Description:
Unique network identifier. This character string is the name of a seismic network.

Datatype:
char(8)

NULL Value:
No

Range:             Any free-format string up to 8 characters long

Name:

next_hard_nb XE "next_hard_nb" 
Relations:
Station_Sensor_Component, Station_Filamp_PChannel

Description:
This attribute denotes the next hardware number.

Datatype:
int

NULL Value:
No

Range:             next_hard_nb ( 1

Name:

next_hard_pchannel XE "next_hard_pchannel" 
Relations:
Station_Sensor_Component, Station_Filamp_PChannel

Description:
This attribute denotes the next hardware physical channel.

Datatype:
int

NULL Value:
No

Range:             next_hard_pchannel ( 1

Name:

next_hard_type XE "next_hard_type" 
Relations:
Station_Sensor_Component, Station_Filamp_PChannel

Description:
This attribute denotes the next hardware type.

Datatype:
char(1)

NULL Value:
No

Range:             next_hard_type ( { F | D }

                        F = filter-amplifier

                        D = digitizer

Name:

offdate XE "offdate" 
Relations:
Sensor, Filamp, Datalogger, Station, Station_Sensor, 





Station_Sensor_Component, Station_Filamp, 






Station_Filamp_PChannel, Station_Digitizer, Station_Digitizer_PChannel, 


Station_Datalogger, Station_Datalogger_PChannel, 





Station_Datalogger_LChannel

Description:
This attribute denotes the end date.

Datatype:
date

NULL Value:
Yes

Range:

Any valid date between January 01, 4712 BC and January 01, 4712 AD

Units:              YYYY/MM/DD HH24:MI:SS

Name:

offset XE "offset" 
Relations:
Filter

Description:
This field determines which sample is chosen for use. The value of this field has 


to be greater than or equal to zero, but less than the decimation factor. 

Datatype:
int

NULL Value:
Yes

Range:             offset ( 0

Name:

ondate XE "ondate" 
Relations:
Sensor, Filamp, Datalogger, Station, Station_Sensor, 





Station_Sensor_Component, Station_Filamp, 






Station_Filamp_PChannel, Station_Digitizer, Station_Digitizer_PChannel, 


Station_Datalogger, Station_Datalogger_PChannel, 





Station_Datalogger_LChannel

Description:
This attribute denotes the start date.

Datatype:
date

NULL Value:
Yes

Range:

Any valid date between January 01, 4712 BC and January 01, 4712 AD

Units:              YYYY/MM/DD HH24:MI:SS

Name:

out_sp_rate XE "out_sp_rate" 
Relations:
Filter

Description:
Sampling rate. This attribute is the output sample rate in samples/second.

Datatype:
float

NULL Value:
No

Range:

out_sp_rate > 0.0

Units:              1/seconds

Name:

pchannel_nb XE "pchannel_nb" 
Relations:
Filamp_PChannel, Station_Filamp_PChannel, Station_Digitizer_PChannel, 


Station_Datalogger_PChannel, Station_Datalogger_LChannel

Description:
This attribute denotes a physical channel.

Datatype:
int

NULL Value:
No

Range:             pchannel_nb ( 1

Name:

pn_id XE "pn_id" 
Relations:
Response_PN, Response_PN_Data

Description:
Polynomial identifier. Each polynomial is assigned a unique integer which 


identifies it in a database.

Datatype:
int

NULL Value:  No

Name:

pn_nb XE "pn_nb" 
Relations:
Response_PN_Data

Description:
This attribute denotes the coefficient number of a polynomial.

Datatype:
int

NULL Value:
No

Range:             pn_nb ( 1

Name:

pn_value XE "pn_value" 
Relations:
Response_PN_Data

Description:
This attribute denotes the coefficient value of a polynomial.

Datatype:
float

NULL Value:  No

Name:
poly_type XE "poly_type" 
Relations:
Response_PN

Description:
This attribute represents the type of polynomial approximation.

Datatype:
char(1)

NULL Value:
No

Range:
poly_type ( { C | L | M }


C = Chebychev


L = Legendre


M = MacLaurin

Name:

pz_id XE "pz_id" 
Relations:
Response_PZ

Description:
Poles & zeros set identifier. Each poles & zeros set is assigned a unique integer 


which identifies it in a database.

Datatype:
int

NULL Value:  No

Name:

pz_nb XE "pz_nb" 
Relations:
Response_PZ

Description:
This attribute denotes the pole/zero number of a response.

Datatype:
int

NULL Value:
No

Range:             pz_nb ( 1

Name:

r_error XE "r_error" 
Relations:
Response_PZ

Description:
The error value for the real portion of a complex pole/zero.

Datatype:
float

NULL Value:
Yes

Name:

r_type XE "r_type" 
Relations:
Response

Description:
A single character describing the type of response.

Datatype:
char(1)

NULL Value:
Yes

Range:

r_type ( { A | B | C | D}



A = Analog (rad/sec)



B = Analog (Hz)



C = Composite



D = Digital

Name:

r_value XE "r_value" 
Relations:
Response_PZ

Description:
The real portion of a complex pole/zero.

Datatype:
float

NULL Value:
No

Name:

remark XE "remark" 
Relations:
Station_Datalogger_LChannel

Description:
An optional comment given to the instrument. It can be anything, including a 


serial number or a notation of special modifications.

Datatype:
char(30)

NULL Value:
Yes

Range:             Any free-format string up to 30 characters long

Name:

resp_id XE "resp_id" 
Relations:
Response

Description:
Response identifier. Each response is assigned a unique integer which identifies it 



in a database.

Datatype:
int

NULL Value:  No

Name:

resp_nb XE "resp_nb" 
Relations:
Response

Description:
This attribute denotes the response number of a sequence.

Datatype:
int

NULL Value:
No

Range:             resp_nb ( 1

Name:

resp_type XE "resp_type" 
Relations:
Response

Description:
This attribute denotes the response type.

Datatype:
char(1)

NULL Value:
No

Range:
resp_type ( { H | L | P | Z | F | N }


H = high-pass filter


L = low-pass filter


P = polynomial


Z = poles and zeros


F = FIR filter

                        N = none

Name:

rfrequency XE "rfrequency" 
Relations:
Station_Datalogger_LChannel

Description:
The frequency (fs) at which the value in rgain is correct.

Datatype:
float

NULL Value:
Yes

Range:

rfrequency > 0.0

Units:

Hertz

Name:

rgain XE "rgain" 
Relations:
Station_Datalogger_LChannel
Description:
This attribute denotes the gain at the response frequency.

Datatype:
float

NULL Value:
Yes

Name:

samprate XE "samprate" 
Relations:
Station_Datalogger_LChannel

Description:
Sampling rate. This attribute is the sample rate in samples/second.

Datatype:
float

NULL Value:
No

Range:

samprate > 0.0

Units:              1/seconds

Name:

seedchan XE "seedchan" 
Relations:
Station_Datalogger_LChannel

Description:
SEED channel name. The first character denotes the band code, the second

                        for the instrument code and the third represents the component code.

Datatype:
char(3)

NULL Value:
No

Range:

seedchan ( {E | S | H | B | M | L | V | U | R} (


                  {A | B | D | F | G | H | I | K | L | M | P | R | S | V | T | W} (


                  {Z | N | E | A | B | C | T | R | 1 | 2 | 3 | U | V | W}



Band code:







Sample rate (Hz)
Corner period (sec)



E = extremely short period
( 80


< 10



S = short period

( 10 to < 80

< 10



H = high broad band

( 80


( 10



B = broad band

( 10 to < 80

( 10



M = mid period

> 1 to < 10



L = long period

~ 1



V = very long period

~ 0.1



U = ultra long period

~ 0.01



R = extremely long period
~ 0.001



Instrument code:


A = tiltmeter



B = creepmeter

                        D = pressure



F = magnetometer

                        G = gravimeter/accelerometer
H = high gain seismometer




                        I = humidity



K = temperature



L = low gain seismometer

M = mass position seismometer



P = geophone



R = rainfall



S = linear strainmeter


V = volumetric strain



T = tide meter



W = wind



Component code:


N = north-south

E = east-west

                        T = transverse                         R = radial

                        Z = vertical



A, B, C = triaxial



1, 2, 3 = orthogonal components but non-traditional orientations

                        U, V, W = optional components

Name:

seed_io XE "seed_io" 
Relations:
Station_Datalogger_PChannel

Description:
This attribute represents the SEED instrument and orientation.

Datatype:
char(2)

NULL Value:
No

Range:

seed_io    ( {A | B | D | F | G | H | I | K | L | M | P | R | S | V | T | W} (


                    {Z | N | E | A | B | C | T | R | 1 | 2 | 3 | U | V | W}



Instrument code:


A = tiltmeter



B = creepmeter

                        D = pressure



F = magnetometer

                        G = gravimeter/accelerometer
H = high gain seismometer




                        I = humidity



K = temperature



L = low gain seismometer

M = mass position seismometer



P = geophone



R = rainfall



S = linear strainmeter


V = volumetric strain



T = tide meter



W = wind



Component code:


N = north-south

E = east-west

                        T = transverse                         R = radial

                        Z = vertical



A, B, C = triaxial



1, 2, 3 = orthogonal components but non-traditional orientations

                        U, V, W = optional components

Name:

sensitivity XE "sensitivity" 
Relations:
Sensor, Datalogger_Module

Description:
This attribute denotes the sensitivity (Sd) for a sensor or a digitizer.

Datatype:
float

NULL Value:  No
Units:               Counts/Volt

Name:

sensor_id XE "sensor_id" 
Relations:
Sensor, Sensor_Component, Station_Sensor

Description:
Sensor identifier. Each sensor is assigned a unique integer which identifies it 



in a database.

Datatype:
int

NULL Value:  No

Name:

sensor_nb XE "sensor_nb" 
Relations:
Station_Sensor, Station_Sensor_Component

Description:
This attribute represents the sensor number.

Datatype:
int

NULL Value:
No

Range:             sensor_nb ( 1

Name:

seqfil_id XE "seqfil_id" 
Relations:
Filter_Sequence, Filter_Sequence_Data, Station_Datalogger_LChannel

Description:
Sequence of filters identifier. Each sequence of filters is assigned a unique integer 

which identifies it in a database.

Datatype:
int

NULL Value:  No

Name:

seqresp_id XE "seqresp_id" 
Relations:
Response, Sensor_Component, Filamp_PChannel, Filter

Description:
Sequence of responses identifier. Each sequence of responses is assigned a unique 

integer which identifies it in a database.

Datatype:
int

NULL Value:  No

Name:

serial_nb XE "serial_nb" 
Relations:
Sensor, Filamp, Datalogger, Datalogger_Board, Datalogger_Module, 



Station_Digitizer

Description:
This attribute denotes a serial number of a sensor, datalogger, filter-amplifier, 


board or module.

Datatype:
char(80)

NULL Value:
Yes

Range:

Any free-format string up to 80 characters long

Name:

software XE "software" 
Relations
Datalogger

Description:
Datalogger’s software (mshear, ushear, …).

Datatype:
char(80)

NULL Value:
Yes

Range:             Any free-format string up to 80 characters long

Name:

software_nb XE "software_nb" 
Relations
Datalogger

Description:
Datalogger’s software version number.

Datatype:
char(80)

NULL Value:
Yes

Range:             Any free-format string up to 80 characters long

Name:

sta XE "sta" 
Relations:
Station, Station_Sensor, Station_Sensor_Component, Station_Filamp, 


Station_Filamp_PChannel, Station_Digitizer, Station_Digitizer_PChannel, 


Station_Datalogger, Station_Datalogger_PChannel, 





Station_Datalogger_LChannel

Description:
Station code. This is the common code-name of a seismic observatory. Generally 


only three or four characters are used.

Datatype:
char(6)

NULL Value:
No

Range:             Any free-format string up to 6 characters long

Name:

staname XE "staname" 
Relations:
Station

Description:
Station name/description. This is the full name of the station whose code-name is 


in sta.

Datatype:
char(50)

NULL Value:
Yes

Range:             Any free-format string up to 50 characters long

Name:

symmetry XE "symmetry" 
Relations:
Filter_FIR

Description:
This attribute denotes the eventual symmetry of a response.

Datatype:
char(1)

NULL Value:
No

Range:

symmetry ( { E | O | N }



E = even

                        O = odd

                        N = none

Name:

type XE "type" 
Relations:
Response_PZ, Filter_FIR_Data

Description:
This attribute denotes whether a value is associated with a pole/zero or a 



numerator/denominator.

Datatype:
char(1)

NULL Value:
No

Range:

type ( { P | Z | N | D }



P = pole



Z = zero



N = numerator

                        D = denominator

Name:

unit_calib XE "unit_calib" 
Relations:
Station_Datalogger_LChannel

Description:
A unit lookup key that refers to the Units Abbreviation Dictionary for the units of 


calibration input, usually volts or amps.

Datatype:
int

NULL Value:  Yes

Name:

unit_in XE "unit_in" 
Relations:
Response

Description:
A unit lookup key that refers to the Units Abbreviation Dictionary for the units of 


the incoming to this stage of the filter. This signal will usually be ground motion, 


volts, or counts, depending on where it is in the filter system.

Datatype:
int

NULL Value:  No

Name:

unit_out XE "unit_out" 
Relations:
Response

Description:
A unit lookup key that refers to the Units Abbreviation Dictionary for the stage’s 


output signal. Analog filters usually emit volts, and digital filters usually emit 


counts.

Datatype:
int

NULL Value:  No

Name:

unit_signal XE "unit_signal" 
Relations:
Station_Datalogger_LChannel

Description:
A unit lookup key that refers to the Units Abbreviation Dictionary for the signal 


response of the instrument – usually the ground motion response, or something 


else for non-seismic devices.

Datatype:
int

NULL Value:  No

Name:

upper_bound XE "upper_bound" 
Relations:
Response_PN

Description:
This attribute denotes the polynomial upper bound

Datatype:
float

NULL Value:
Yes

Name:

word_16 XE "word_16" 
Relations:
Datalogger

Description:
16-bit quantity byte swapping order, for the data headers only.

Datatype:
int

NULL Value:  No

Name:

word_32 XE "word_32" 
Relations:
Datalogger

Description:
The swap order in which 32-bit quantities are specified in the data headers.

Datatype:
int

NULL Value:  No



A
azimuth
20

B
block_size
20

board_nb
21

C
channel
21

channel_comp
21

channelsrc
22

clock_drift
22

coeff_nb
23

coefficient
22

comp_type
23

component_nb
23

component_type
23

corner_freq
24

correction
24

D
damping_value
24

data_format
25

data_id
25

data_nb
25

data_pchannel
26

data_type
26

Datalogger
6, 14

Datalogger_Board
6, 15

Datalogger_Module
6, 15

datumhor
26

datumver
27

delay
27

digi_channel
27

digi_nb
28

digi_polarity
28

digi_type
28

dip
29

E
edepth
29

elev
29

error
30

F
Filamp
5, 14

filamp_id
30

filamp_nb
30

Filamp_PChannel
5, 14

Filter
7, 16

Filter_FIR
7, 15

Filter_FIR_Data
7, 15

filter_id
30

filter_nb
31

Filter_Sequence
7, 16

Filter_Sequence_Data
8, 16

filter_type
31

fir_id
31

firmware_nb
32

flags
32

frequency
33

G
gain
33

H
hp_id
33

I
i_error
33

i_value
34

in_sp_rate
34

L
lat.
34

lchannel_nb
35

lddate
35

location
35

lon
36

lower_bound
36

lp_id
36

M
max_error
37

module_nb
37

N
name
37

nb_aux_pchannel
38

nb_board
38

nb_coeff
38

nb_component
39

nb_data
39

nb_digi
39

nb_filamp
40

nb_filter
40

nb_lchannel
40

nb_module
41

nb_pchannel
41

nb_pole
41

nb_pri_pchannel
42

nb_sensor
42

net
42

next_hard_nb
43

next_hard_pchannel
43

next_hard_type
43

O
offdate
44

offset
44

ondate
45

out_sp_rate
45

P
pchannel_nb
45

pn_id
46

pn_nb
46

pn_value
46

poly_type
47

pz_id
47

pz_nb
47

R
r_error
48

r_type
48

r_value
48

remark
49

resp_id
49

resp_nb
49

resp_type
50

Response
3, 12

Response_HP
3, 12

Response_LP
3, 12

Response_PN
4, 13

Response_PN_Data
4, 13

Response_PZ
4, 13

rfrequency
50

rgain
50

S
samprate
51

seed_io
53

seedchan
52

sensitivity
53

Sensor
4, 13

Sensor_Component
5, 14

sensor_id
54

sensor_nb
54

seqfil_id
54

seqresp_id
54

serial_nb
55

software
55

software_nb
55

sta.
56

staname
56

Station
8, 17

Station_Datalogger
10, 18

Station_Datalogger_LChannel
11, 19

Station_Datalogger_PChannel
11, 19

Station_Digitizer
10, 18

Station_Digitizer_PChannel
10, 18

Station_Filamp
9, 17

Station_Filamp_PChannel
9, 18

Station_Sensor
8, 17

Station_Sensor_Component
9, 17

symmetry
56

T
type
57

U
unit_calib
57

unit_in
57

unit_out
58

unit_signal
58

upper_bound
58

W
word_16
58

word_32
59




NCEDC Database Project Homepage: http://quake.geo.berkeley.edu/db/







PAGE  
1

