DRAFT

Report of the

Network Architecture and Interconnection Subcommittee

# Table of Contents

Table of Contents	1

Executive Summary	2

Overview and Goals	3

Scope	6

Development	12

Design Goals	15

Design Decisions	17

Issues and Tradeoffs	24

Functional Design	34

Appendices	50

# Executive Summary

# Overview and Goals

The primary motivation for the Advanced National Seismic System (ANSS) is to "meet the needs of the People of the United States for timely and accurate earthquake information relevant to research, education, engineering, and public safety associated with seismic and volcano hazards."  In order to fulfill this mission, four major goals were articulated in USGS Circular 1188:

- Establish and maintain an advanced infrastructure for seismic monitoring throughout the United States that operates with high performance standards, gathers critical technical data, and effectively provides information products and services to meet the Nation's needs.  An Advanced National Seismic System should consist of modern seismographs, communication networks, data processing centers, and well-trained personnel; such an integrated system would constantly record and analyze seismic data and provide timely and reliable information on earthquakes and other seismic disturbances.

- Continuously monitor earthquakes and other seismic disturbances throughout the United States, including earthquakes that may cause a tsunami or precede a volcanic eruption, with special focus on regions of moderate to high hazard and risk.

- Thoroughly measure strong earthquake shaking at ground sites and in buildings and critical structures.  Focus should be in urban areas and near major active fault zones to gather greatly needed data and information for reducing earthquake impacts on buildings and structures.

- Automatically broadcast information when a significant earthquake occurs to save lives and property, by facilitating decision making and mitigating actions such as search and rescue, fire prevention, and deployment of engineers and inspectors for building inspection.  Where feasible, for sites at distance from the epicenter, broadcast an early warning seconds before strong shaking arrives.  Provide similar capabilities for automated warning and alert for tsunamis and volcanic eruptions.

As part of the process of developing the guidelines and standards for the establishment of the ANSS, the Technical Integration Committee formed five subcommittees to address particular aspects of the system.  These included Instrumentation, Site Installation, Data Analysis and Products, Network Architecture and Interconnection, and Archiving and Distribution.  Figure 1 illustrates the responsibilities of the various subcommittees in a functional diagram.

Figure 1:  Functional diagram of ANSS components, color-coded by the responsibility of the TIC subcommittees.  Primary elements include stations, processing centers, archiving centers, and the links among them.  The white ovals indicate ANSS users.

The subcommittee on Network Architecture and Interconnection (NAI) was charged to

Develop consensus specifications for the integrated design of national, regional, and urban monitoring components and for communications among the components (sensors, data centers, and real-time recipients of data and products).  This includes the technical design of communications protocols and data center design and functionality, but does not include specifications of data formats.  The system should include consideration of appropriate levels of timeliness, completeness, robustness, and redundancy.  The design must examine distributed data acquisition and processing, and must allow for distributed data archiving and distribution.  The capability to incorporate data from sensors and networks owned and operated by other organizations should be included.  Performance specifications for the data acquisition and exchange hardware/software system nationwide need to be identified.

The NAI subcommittee consists of core members from the seismological and engineering communities, representing both scientists and software developers.  Membership of the committee includes:

Lind Gee, UC Berkeley, Chair

Doug Given, USGS Pasadena

Steve Goldstein, NSF

Kent Lindquist, University of Alaska

Phil Maechling, Caltech (now at Cysive Inc.)

Gary Pavlis, University of Indiana

Tony Shakal, California Division of Mines and Geology

Mitch Withers, University of Memphis

As an initial member of the committee, Phil Maechling made many important contributions to the outline and structure of the report.  Although he was unable to continue his participation, the committee is extremely grateful for his contributions.  Gary Pavlis, Doug Given, and Steve Goldstein graciously agreed to join the NAI subcommittee mid-way through the process and provided valuable input during the writing process.

In addition to these participants, the NAI subcomittee was supplemented by liaison members from the Technical Integration Committee:

Tim Ahern, IRIS

Ray Buland, USGS Golden

Steve Malone, University of Washington

# Scope

## Introduction

Building an Advanced National Seismic System is a major undertaking, especially a system designed to be multi-purpose.  The ANSS as proposed serves researchers and practitioners, seismologists and engineers, emergency response managers and hazard mitigation specialists -- to name a portion of the user community.  Serving a diverse clientele - with widely different expectations - is a significant challenge.

Earthquake monitoring has a long history in the United States.  From early seismographic stations in California to USGS-sponsored networks in the 1970s to the development of the TriNet project, the uneven evolution of seismic monitoring has left a complex legacy of spatially variable infrastructure and capability.  Stitching all the current pieces together in a coherent and operational system will require careful design and implementation.  Given this complexity, it is worthwhile to consider what the ANSS might look like if it were designed without any knowledge of the existing system.

Designed from scratch, the ANSS would be a national monitoring network, consisting of regional and urban elements and locally densified in areas of particular hazard or risk.  All stations would be as standardized as possible and legacy stations would not be an issue.  In some areas, local institutions would be used for data concentration, in order to facilitate efficient communications.  Many or all stations would have multiple communication links.  There would 2 (or more) national monitoring centers - located far from areas of seismic hazard.  It is likely that long-term archives would be associated with each processing center.

This model is appealing because of its simplicity.  This design minuses the number tiers in the seismological hierarchy (Figure 2) and therefore reduces the number of interfaces.  This strawman easily produces a "national system" as processing would be highly centralized and standardized.  The creation of uniform national earthquake products becomes trivial.  The issues associated with partial or incomplete views of events are reduced and the hierarchy of authority is easily defined.  By definition there is one-stop shopping for earthquake information - users need only to approach a single entity.

By contrast, the ANSS is likely to be more complex (Figure 3).  USGS Circular 1188 recognizes a hierarchy in seismic monitoring, with multiple regional centers and national operations under the National Earthquake Information Center (NEIC).  Data processing is expected to be widely distributed - and consequently there will be multiple sources of earthquake information and data.  Legacy stations are an important consideration - bringing both the value of enhanced capability and the complication of added heterogeneity.  Of particular concern will the issue of "authority" associated with the distribution of earthquake information.

Figure 2: Model of a simple, centralized ANSS hierarchy, consisting of stations, concentrators, national processing and archiving centers, and users.  The Canadian National Seismographic Network is organized along similar lines.

Figure 3: Model of the probable ANSS hierarchy, which adds the complexity of multiple regional processing centers.

Is it necessary for the ANSS to be so complex?  The answer to this question is typically "yes".  Although some aspects of the complexity are motivated by politics and existing infrastructure, some may be justified on their own terms.  In particular, the regional or decentralized model provides a natural scale for addressing issues of data quality control, scalability of processing systems, redundant reporting, data product quality control, and flexibility and responsiveness to local contacts.  And it would be irresponsible to ignore the capabilities of the existing infrastructure.  In the end, however, the decision of the final ANSS structure is not within the scope of the NAI subcommittee.  Instead, we used the hierarchy shown in Figure 3 to discuss the different elements - and associated assumptions - considered within the our purview.

The lowest level in any ANSS diagram is the seismographic station.  In both Figure 2Figure 3, the red and black circles indicate seismic stations.  They may be any type of station - national, regional, or urban.  Red indicates ANSS supported or funded stations, black indicates non-ANSS supported.  The non-ANSS supported stations may be contributed to ANSS processing if the appropriate standards are met.  The red lines indicate a communications link.  The existence of ANSS and non-ANSS stations imply that the ANSS will need to address a highly heterogeneous environment.

Since seismic data are the cornerstone of the ANSS, it is likely that the consideration of system reliability will lead to the implementation of multiple communication links (indicated by dotted lines).  These secondary links may be an alternate path to the primary recipient or a link to another processing center.  Not all stations have multiple telemetry links but some number of critical stations do.  This diagram does not differentiate between dedicated and "dial-up" communications.  Certainly many sites will require continuous telemetry, but some may not (for example, structural strong-motion arrays).

The flow of data to multiple processing centers could create potential problems in terms of data loops and for determining "authoritative" copies for archiving, so the issue of tracking the path of waveform data will be important.  It seems unlikely, however, that all waveform data will be processed by all centers.  A more likely scenario is one where neighboring centers engage in complete - or nearly complete- waveform exchange in order to unify their view of events.

The seismographic stations will produce time-series data, either triggered or a combination of triggered and continuous data.  Triggered data presents an additional set of potential problems, particularly from the perspective of rapid earthquake processing, since they introduce a non-deterministic load on the system.  In some cases, the dataloggers may output parametric data as well, such as state-of-health information, phase detections or peak ground motions.

Between the seismographic stations and the regional processing centers, there may be one or two intermediate levels.  It is likely that the need for these levels will vary from region to region.  For example, in some instances data may be collected from several stations at a single point.  These sites are denoted by yellow triangles and are called "data concentrators".  In general, these will be unstaffed facilities, but there may be a local contact.  There are two possible models for this tier.  One is that these facilities just forward the waveform data to the next level.  In this case, there may or may not be local storage at this site (assuming that the dataloggers have local storage), but essentially, this level would be a telemetry collection point.  A second model is that some low-level processing is done at the facility and only selected waveforms are forwarded to the next level.  In this case, a system might perform subnet triggering or some type of event detection and then forward the triggered waveforms (and associated parametric data) out.  This type of model might be useful in areas where it is difficult to obtain sufficient bandwidth to transmit all of the waveform data.  These may or may not be ANSS-supported operations.  For example, this might be a local utility that has deployed strong-motion instrumentation and is willing to contribute data to the ANSS.  In another example, this might be data from a local array of stations, with a single, convenient point of outward communication.

Another intermediate level is that of a local center.  This level is perhaps the least well constrained.  The center may be responsible for the operations and maintenance of a number of stations, as well as for local acquisition, under the direction of a regional center.  Waveform data collected by the local centers will be forwarded to its regional center and to additional regional or national centers as needed.  By agreement with the regional processing center, the local center may run all or part of the earthquake processing software.  The local center may perform review operations and local quality control (QC) on data from their stations.  These facilities may provide local seismological expertise to the community and local technical support for operations at tiers 0 and 1.  These are facilities staffed during normal hours of operation.

In terms of the scope of the NAI subcommittee, these two intermediate levels add some complexity, but do not significantly impact the system design goals.  In particular, depending on the actual implementation, the local center may just be a scaled version of a regional processing center.

The regional processing center is a central hub of operations in an ANSS region and there may be more than one in a region.  If there is more than one center within a region, it will be necessary to clearly define the scope of operations and authority.  As envisioned, the regional centers will have primary responsibility for rapid earthquake processing and notification.  While the regional center will receive parametric data from other tiers within its region - and from adjoining regions - it will be the authoritative source of information on earthquakes in its region and will have responsibility for distribution of this information.  They also have primary responsibility for quality control of waveform data and for maintaining the station infrastructure infrormation.  They may or may not have a local archive, but will contribute the ANSS archiving facilities.

The national processing center (whose operations may be split among several facilities) is "the focal point for all seismic monitoring in the United States.  ...  It should serve ...  as a backup for all regional networks and data centers.  It must be able to replicate their services should a regional center fail due to a major earthquake, power loss, or other extreme event ...".  In a truly decentralized system, one might not need a national processing center, as this “backup” role could be filled by neighboring regions.  However, the United States has interests in earthquake activity outside of its borders and a national center is a logical place for this monitoring responsibility.  Furthermore, many organizations with interests distributed among multiple regions may prefer to deal with a single entity and the national processing center will fill this role.

The archiving function of the ANSS may be handled in several different ways.  Each regional processing center could have an accompanying archiving facility.  This would lead to a distributed system, which complicates uniform and simplified access to ANSS data.  In contrast, the archiving function could be centralized.  At the very least, the design of the ANSS archiving facilities must address the issue of redundancy.  In either case, the repercussions for the scope of the NAI subcommittee are the same:  data need to be provided to the archiving facilities in a timely fashion.

An important component of Figure 3 is the ANSS user community.  The TIC has identified seven categories of users:  global seismologist, regional seismologist, seismic hazard analyst, engineering seismologist, earthquake engineer, emergency management responder, and media/public officials/educators/general public. Another important user is the researcher or practitioner who serves as a local point of contact for the media, public, and others. Although not identified in Figure 3, the local "data outlet" is a concept that should be considered in the design of the ANSS.  An example might be a seismology professor who provides advice to local emergency managers during an earthquake sequence.  From the perspective of the NAI subcommittee, the paramount issue with respect to users is their need for time-critical information.  As described later, the NAI subcommittee believes that it is important to differentiate between users with real-time needs (such as emergency managers) and "others".  While "other" users may desire rapid access to data, we believe that there is value to identifying the core group who require real-time access.  This differentiation is important from the perspective of putting predictable loads on the procesing centers.  This user group will drive some aspects of data delivery mechanisms because of the time-critical (and life-safety) nature of their application.

Finally, the linkages – or pipes – among the components of the ANSS are important elements of the system.  Figure 3 shows considerable complexity in the connections among the elements - the ANSS will require both horizontal and vertical connectivity.  The further up in the hierarchy, the more connectivity is required.  Certainly a great deal of connectivity is anticipated among the regional centers and between the regional centers and the national centers.

The size of the pipes has been the subject of some discussion.  Estimates range from 50 Mbps in the worst case to 16 Mbps in the best, with differences due to assumptions about compression and continuous versus triggered data (for a discussion of this issue, please see the Appendices).  In general, this problem will be largely solved by the rapidly evolving technology in networking.  Where we still face limitations is in the first mile (from the station to the processing center) and in the last mile (at the archive).  Although the communications field is evolving rapidly, the choices in remote areas, where many seismographic stations are located, are limited, often forcing choices between data latency and completeness.  Similarly, although storage technology is expanding quickly, some of the "worst case" numbers may stresss current capabilities.

## Assumptions

Figure 1 and Figure 3 were used to structure the thinking of the NAI subcommittee.  Since Figure 1 emphasizes the role of the NAI subcommittee in forming the linkages among the many components of the ANSS, we viewed ourselves as the "pipe" committee and focused on several key questions:

Where do the pipes go?

What is in them?

What are they made of?

What is at either end?

In order to address these issues, we drew some lines and made some assumptions.

- We assume that the ANSS will be divided into a number of regions, somewhere between 1 and 10.  The regional centers are assumed to be responsible for processing - and reporting - on earthquakes in their geographical area.  The regions are assumed to adjoin, that is, all states fall within a region.  This differs from the current model of the Council of the National Seismic System (CNSS), where some areas of the United States do not fall within the boundaries of a network.  This is a particularly critical assumption, as multi-source reporting adds complexity to the design.

- We assume that the ANSS will have some number of long-term archives, somewhere between 1 and the maximum number of regions.  We assume that the long-term archive may be decoupled from the real-time processing center.  The NAI subcommittee views archiving as a separable function that does not require collocation with the processing centers, although there may be other reasons to do so.  In particular, while the processing centers may send real-time data (waveforms and parametric information) to the archives, the processing centers will not rely on storage capacities at the archives for access to these real-time data.

- One of the issues we struggled with is "What is the ANSS?".  Is it a totally new system comprised of new hardware and software?  The ANSS budget does not seem to allow for the development of an entirely “new” system.  A more likely path for the development of the ANSS is an evolution from existing systems, with new components developed to address specific problems and enhance capablities.  This has implications for the level of homogeneity within the system and raises the question of what degree of integration will be achieved.

- Many of the constraints on the ANSS derive from the goal of rapid earthquake notification.  Early warning represents one end of the rapid notification spectrum that could drive many of the design issues.  The NAI subcommittee recommends that the ANSS adopt the perspective of continuous performance improvement versus early warning.  That is, focus on  generating information as quickly as possible without specifically identifying their most rapid notifications as early warnings.

- While system security is important, the NAI subcommittee agreed that CTBT-level security (digital signatures, for example) is not required for the operation of the ANSS.

- The NAI subcommittee assumes no distinction between weak and strong motion data.  From the perspective of the pipes, a waveform is a waveform is a waveform.  Network design goals for real-time strong-motion stations are in principle the same as for other seismic instrumentation.  However, the majority of triggered data in the ANSS is likely to be generated from strong-motion sites and this has implications for system design.

- Responsibility for station quality control is assumed to be the responsibility of the local or regional authority.  Issues such as calibration, instrument response, and clock quality are best addressed as close to the station as possible.  So, the local/regional authority are assumed to be the source of these meta data.

Figure 4:  A map view of the hierarchy illustrated in Figure 3.  This figure shows 3 adjoining regions with data concentrators, local centers, regional processing and in one case archiving centers and national processing and archiving facilities.

# Development

It is appropriate for the NAI subcommittee to specify a level of detail down to, but not including the actual design.  This report is limited to functional specifications as they depend on ANSS goals, generally remaining above technical specifications and specific design decisions which would constrain implementation.

In order to fulfill its charge, the NAI subcommittee decided to approach the problem as one of a hierarchy of increasing detail.  The committee decided that it was not possible to deliver the entire document by the March 1 deadline and instead decided to take a layered approach.  Therefore the report of the NAI subcommittee is organized into the following chapters

- Design Goals

- Design Decisions

- Issues and Tradeoffs

- Proposed Course of Action

- Functional Design

This document presents items 1-4.  Although we have made some progress on Functional Design, the document is not complete at that level.  We anticipate completing the functional design section by early June 2001.

However, there are many steps between functional design and implementation.  In our efforts to clarify the level of detail needed to specify architectural issues, we have necessarily had to speculate on the way ANSS interconnections will be implemented - and in some cases, we have made suggestions.  However, we recommend a procedure by which the ANSS software infrastructure and communication protocols will be designed, developed, and implemented.  The path from the goals to the final system can be divided into several potential sections:

- Derivation of detailed functional specifications from the broad goals of the ANSS mandate

- Inversion of the entire set of detailed functional specifications to get a self-consistent set of detailed design specifications that will meet the functional needs

- Implementation and testing of a prototype system based on the draft design goals; or, either alternatively or in conjunction, a review of existing systems for component parts and workable strategies that already exist and can meet part of ANSS needs

- Modification of the initial design to incorporate the lessons of the prototype test

- Implementation and acquisition of the necessary software and databasing components for the final ANSS operational system.

These steps or a workable, modified version of them will require several groups of tasks:

- Seismological guidance to make sure the ANSS goals will be met

- Seismological guidance to make sure the interfaces and implementation decisions, etc., are realistic for the target seismological communities

- Work to extract a set of self-consistent, detailed functional specifications that are in line with and help instantiate the “big picture” of ANSS functionality

- Inversion work to turn the functional specifications into a detailed design

- Construction work to take the detailed design blueprint and build a running system from it

- Evaluation work to test the running prototype and/or final system

Some of these tasks, especially some of the guidance tasks, may be available from the seismological community without requiring full-time commitment.  However, other aspects, especially the software-system construction work, will require full-time attention from multiple persons.  With a software and hardware project the size of ANSS, even the specification of a detailed design will probably require full-time work by multiple parties.  There are several potential sources of labor for these stages.

- Pro-bono, non-full-time work by members of the seismological community at large

- Paid, non-full-time work by members of the seismological community at large, regional network operators, and/or seismologists within each region

- Paid consulting advice from technical management firms, networking specialists etc.  in which the consultants do not do the “heavy-lifting”, but nevertheless provide input on plans and/or review of specifications etc.

- Paid contracting work for one or more of : the complete functional specification of the system; the derivation of a design blueprint and/or design specification for the ANSS; construction of a prototype software and/or hardware system according to design blueprints; evaluation of the prototype system; construction of the final ANSS software system (processing, interconnection, archiving, and data-product extraction)

- Consulting advice or guidance for items in #3 above, provided  by USGS staff employees;

- Actual work for items listed in #4 above, provided by USGS staff employees

While it may be beyond this particular subcommittee to sort out the handling of all ANSS implementation, we recommend that the source of labor for each of the major implementation steps be explicitly clarified.  Some of these may require an official Request for Quote (RFQ) or Request for Proposal (RFP) to the general community.

For clarity, these major task categories can be placed in a matrix against the possible sources of labor and method to complete each. This matrix is intentionally mostly blank, made available to promote discussion. We recommend that the labor sources for all relevant ANSS implementation tasks be explicitly resolved. The first element, derivation of detailed functional specifications, has been filled in as coming pro-bono from the seismological community, simply because this task has been started by the Technical Integration Committee and its subcommittees.

Options for sources of Labor for ANSS implementation tasks

|  | Pro-bono, non-full-time work by seismological community members | Paid work by seismological community members: Request for Proposals | Paid consulting advice from technical management firms, networking specialists etc.: Request for Quote | Paid contracting work from commercial companies: Request for Quote | Consulting guidance from USGS staff employees | Construction work by USGS staff employees |
| --- | --- | --- | --- | --- | --- | --- |
| Derivation of detailed functional specifications from ANSS circular etc. | Technical Integration Committee and Subcommittees |  |  |  |  |  |
| Inversion of the detailed functional specs to get design specifications |  |  |  |  |  |  |
| Implementation and testing of prototype system based on draft design goals; and/or review of existing systems |  |  |  |  |  |  |
| Modification of initial design after prototype test |  |  |  |  |  |  |
| Acquisition/implementation of software and databasing components for final ANSS operational system: main construction work |  |  |  |  |  |  |
| Seismological guidance to make sure ANSS goals will be met |  |  |  |  |  |  |

Finally, we recognize that the specifications for the ANSS will evolve as the system develops.  We recommend establishing a mechanism similar to the Internet Request for Comment (RFC) to allow changes and evolution in the technical and functional specifications as prototype efforts are evaluated and improved.

# Design Goals

USGS Circular 1188 describes the overall ANSS goals and intended final products.  A suite of functional specifications may be derived from the Circular, in order to provide the goals in a form appropriate for planning the construction of the ANSS.  These functional specifications do not enumerate design decisions; rather, taken as a suite, the party or parties responsible for implementing the ANSS will need to find the set of technical specifications and design decisions that properly satisfy the functional specifications.

## Functional specifications

Data collected by ANSS need to be accessible in a dual-use manner that is seamlessly designed for both the seismological and engineering applications and the weak-motion and strong-motion communities.

The data exchange mechanisms must be designed such that either direct interfacing with standard seismological applications or appropriate interfaces to these applications is supplied.

Avoiding single points of failure, data communications strategies must assure reliable delivery [quantitatively, how reliable?] in spite of the possibility of damage to infrastructure during large earthquakes.  Waveform data must also be delivered in a timely fashion [in a few 10s of seconds].  This requires choosing a strategy that accounts for the possibility of larger bandwidth needed for signals from large earthquakes.

Mechanisms for data distribution need to present a coherent interface for the end user that is not confusing, allowing straightforward customization for their regions of interest.

The ANSS infrastructure must integrate component and contributing networks.  This involves accepting input from the broad cross-section of agencies that contribute to seismic monitoring in the United States. The ANSS provides a unique opportunity to blend these efforts together in a synergistic way, through construction of a networking infrastructure that allows algorithmic redundancy, local and regional systems heterogeneity, and nevertheless integrates the input from all components in a seamless way, with final output products available to the community in a standardized form.

The need for consistent earthquake reporting in ANSS, combined with the need to integrate data and processing results from contributing networks, suggests specifying quality-control mechanisms for contributed data.  These could take the form of threshold levels of data timeliness, reliability, and timestamp accuracy for waveform data; or perhaps a graded approach for incorporation of several different quality-levels of data.

The current case, and also a possibility at the outset of ANSS implementation, is that not all datalogger manufacturers will adhere to a common format.  Therefore, it may be advantageous to consider a high degree of interoperability in the system, namely an ability to mesh with existing data formats and protocols.

Scalability decisions need to be based on an understanding of how much of the scalability can be done directly with hardware combined with appropriately designed software.

Similar to the enhanced physical infrastructure of the upgraded seismic network, the informational infrastructure of the Advanced National Seismic System  involves extensive effort on the part of many people for planning, development, and implementation.  The software and protocols, as well as the hardware and instrumentation, fall under the operational concept expressed on p.  21 of Circular 1188:

“The interrelated components of a National Seismic System must function in a well-organized way.  The system should be designed, created, and operated using a systems engineering approach to ensure that  both the whole and its parts meet the desired performance goals in a cost-effective way.”

The 1188 circular specifies as well to “Integrate existing capabilities and expertise of regional seismic networks, strong-motion networks, and the U.S. National Seismograph Network, and use a systems engineering approach to create a master plan for nationwide seismic monitoring and information flow, including performance goals, standards, and procedures.” [1188 p.  21].

Quoting from section of 6.3 of circular 1188, "Standards for data collection and processing will not necessarily require seismic network operators to stop using existing hardware and software.  Rather, they will prescribe guidelines that network operators and other potential participants must meet to integrate their instruments and data into the National Seismic System."  Towards that end, we recommend that the network interconnection specification meet at the level of protocols rather than of particular software or software libraries to run. Variations in regional network operating conditions may require corresponding variations in the ANSS implementation from region to region.  Allowing for this at the outset will permit blending of all available existing and newly designed assets into a comprehensive system.  It is advantageous to develop the necessary protocol "glue" independent of specific, software, that provides mutual compatibility for existing and future systems.

To improve understanding and public safety , the ANSS needs to make earthquake data products available to a broad user community.

# Design Decisions

## Real-time Systems

Rapid Earthquake Processing

The ANSS earthquake processing must be fast.  We recognize that regardless of how fast the system is, someone will want the information faster.  The goal for the ANSS should be to support continuous improvements in speed of production.  Try to avoid building in any systematic delays.

Rapid notifications depend on fast data acquisition, fast parametric calculations, and immediate distribution.  The ANSS should be designed to support the following characteristics:

- Low latency data acquisition.  To calculate parametric data quickly, we need fast access to waveform data.

- Application programs must have real-time access to waveform data.

- Real-time distribution of derived parameters among real-time application programs

- Real-time processing should be designed to be as continuous as possible, avoiding “built-in” system delays.

Based on our knowledge of existing processing systems, we anticipate that certain elements will be part of the final design.  For example, many processing systems utilize two levels of data buffers.  One is provided for relatively recent data and should be designed so that real-time processing applications can access data in the appropriate time frame.  Examples of these include “wave pools” for waveform data.  The second level of data buffer is provided for intermediate to long-term storage and is often implemented in the form of a database management system (DBMS).  The distinction in terms of the timeliness of data access is important, depending on the type of request.  However, the implementation of multiple levels of data buffering requires attention to issues of graceful degradation if a real-time application requests data that is no longer available in the “recent” buffers.

Strong-Motion Data Processing

In addition to handling continuous waveform data, the ANSS must address triggered waveforms.  The majority of triggered data are likely to originate from strong-motion sites.  In general, the NAI subcommittee has avoided making a distinction between "strong-motion" and "weak motion" data.  For example, it is assumed that processing centers produce key parametric data from continuous strong-motion data after significant events and that these data are combined to produce ANSS earthquake data products.  There are specialized data products associated with strong-motion monitoring which need to be part of the ANSS.

The ANSS must also accomodate the near-real-time data generated from strong-motion sites without continuous telemetry.  Centers shall process the "call-in" data from field stations and distribute parametric data according to the same standards for real-time data, immediately after data from those stations is recovered.  Currently, the majority of strong motion data is acquired in this manner and the data is crucial input for near-real-time products of rapid notification such as ShakeMap.

## Rapid Notification and Distribution

Rapid earthquake notifications will be one of the ANSS’s most important responsibilities – and most valuable products.  Rapid earthquake notifications (also known as rapid notifications) typically consist of location and magnitude information.  This information is routinely sent to time-critical users and to the public within about 5 minutes after a local event.  The notifications may take many forms and may be delivered by various mechanisms.  It is likely that the ANSS will need to produce more than just location and magnitude information immediately after significant events.

The ANSS should be developed so to support a wide variety of rapid notification products.  The system should be capable of rapidly determining many types of earthquake information, and each information type must be delivered in standard formats via multiple mechanisms.  The ANSS rapid notification system should be designed to be fast, accurate, reliable, robust, and flexible.  These and other characteristics of the rapid notification system will be discussed in functional design.

## Real-time responsibilities

The processing centers of the ANSS are expected to exchange data and information in near-real time with other processing centers as well as with the archiving centers.  In particular, it should be a goal of the ANSS that the archiving system be designed to distribute earthquake information products in near-real time.  However, the NAI subcommittee feels that the distribution of real-time and near-real time data is not a mission-critical responsibility of the archiving centers.  The regional and national processing centers have the responsibility to provide earthquake information to time-critical users, while the archiving facilities distribute information to non-time-critical users.  Thus, the request from research seismologist who wants to access waveform data for the earthquake 30 minutes ago would be handled by the archiving facilities - not the processing centers.  If the archiving facilities were unavailable, that request would be tabled. This decision allows the processing centers to be isolated from non-predictable request load.  However, the processing centers will require some sort of capability to deliver information to the public (e.g., Web servers) that is isolated from the operation of the processing system.

Furthermore, the system should be designed so that the processing centers can fulfill their critical functions without access to the archiving components of the ANSS.  That is, failure of the archiving system or failure of communications between the processing and archiving systems cannot compromise the delivery of rapid earthquake notifications.

## Review and Analysis

The ANSS must support multiple levels of product review and analysis.  Although these procedures could be implemented at the archiving centers, the NAI subcommittee recommends that routine analysis and review be implemented at the processing centers.  While data products and information will flow from the processing to the archiving centers, the responsibility for the product lies with the processing center.

We envision at least 2 major levels of review and analysis: rapid review of “alarm” earthquake products and revised review.

Rapid review is performed immediately following an alarm and must be completed within a few tens of minutes after the origin time of the earthquake.  Applications for this function should be built for speed and ease of use.  Procedures should be capable of combining multi-regional information but must be able to operate if such information is unavailable.  Broadcast of information should be streamlined and automated where appropriate and provide positive feedback on transmit of information and on receipt where feasible.

Revised review and analysis assumes that updates to rapid processing will be performed on a continuing basis as additional information becomes available.  This processing is performed on the order of tens of minutes to days to weeks (in some exceptional cases).  It is intended that this level will be more concerned with completeness and quality than other rapid analyses and that this level of review will involve combining multi-regional information.

The continuum between the extremes is the frequent update of reviewed products as additional information becomes available.  While the two extrema may use identical systems and procedures, it is possible that they may not.  While the rapid review may be based on the real-time buffers (as described above), the revised review is likely to be based on the intermediate to long-term buffers.

A critical component of both the rapid and revised review will be insuring that the updated information is immediately available to the other processing centers and to the archiving facilities.

## Data Products

### Varieties

The ANSS must be able to calculate and distribute a wide variety of information.  The system should be designed so that new varieties of information may be added, and distributed without impacting existing rapid notification capabilities.

Users are asking for more and more types of information.  To support this, the ANSS should be capable of producing a wide variety of parametric earthquake information such as phase picks, different types of ground motion amplitude information, and types of magnitudes.  Flexibility in the processing system - both real-time and non-real time - will allow the ANSS to expand and support new types of information as they are developed.

A corollary of this is that the ANSS must be able to process, exchange, and store different types of information.  Although the potential product list is long (see Appendix C), they fall into several distinct classes:  continuous waveforms (with triggered waveforms as a degenerate case), discrete parameters (such as picks, hypocenters, and moment tensors), and binary, large objects (a.k.a. blobs, such as ShakeMaps).  The ANSS must be able to handle these three fundamental product classes.

### One Answer

It has been proposed that the ANSS produce “one answer” for any earthquake in the U.S.  This goal is motivated by the desire to speak with one voice.  It is disconcerting to the press and public and to the reporting organizations for a local network to report a magnitude 6.6 in Joshua Tree, while another reports a magnitude 7.1 in Hector.  With multiple processing centers producing earthquake information, implementing the one-answer approach will be challenging (particularly since region boundaries may cross seismic zones).  However, the trouble involved in explaining multiple answers is so great that the goal of producing one answer for any event is highly desirable.  The NAI subcommittee recommends that the ANSS be designed to provide “one answer”.

### Improvement with time

A fundamental principle of the ANSS should be that information about an earthquake improves with time.  Behind this principle is the idea that as time passes, the acquisition system acquires more data to work with and the processing system has more time to process the data.  Given more processing time, more sophisticated algorithms can be used.  Given more time, human interaction with the data is possible, allowing even more improvements in information content.

In some cases, improvement of earthquake information with time is easily achieved.  For example, current real-time earthquake monitoring systems can produce locations and magnitudes within 30 seconds.  However, these automatic systems will update that preliminary information, and the location and magnitude information available at 90 seconds is substantially more accurate than the information produced a minute earlier.  This is an example of how the information may improve with time.  While this example focuses on rapid notification, the general principle may be applied to the entire lifecycle of earthquake information.

The situation becomes significantly more complex as multiple system report on the same event and when multiple networks report on the same event.  Now, updates are not necessarily generated by the same network or by the same processing system.  There is no guarantee that a later report has more or better information than an earlier report.  The later report may just be from a slower system.

The ANSS should be designed to support the principle that earthquake information improves with time.  While this is a significant design issue, certain principles will be elements in the solution.  One such principle is that information should be uniquely identified.  The standard example of this is ‘event id’.  By labeling parametric information with a unique identifier, we distinguish between new data items, and updates.   In addition, data items should be versioned.  We need to be able to identify updates, and the order in which data items were produced.   Finally, data that has been human reviewed should be identified including the human’s identity, and possibly the time and date of the review.

### Lineage

Given the distributed nature of the ANSS and the interconnections among its components, it is important to be able to track the lineage or path of the data.  For example, waveform data may flow from a station to multiple recipients.  One recipient may process the raw data to obtain a filtered time series, which is then transmitted to another processing center, while another recipient may forward the raw data to the national center.  Various adjustments to data may be made at each "stop".  In addition to tracking the path, the lineage tag also assures the data provider of appropriate attribution.  Although the complete solution is beyond the scope of this document, lineage tracking should at least include identification of the initial source of the data as well as the ability to indicate any processing or modification of the data and the agency that performed those operations.

### Quality

All data distributed by the ANSS must include an associated assessment of quality, as defined by a national standard.  The assessment of quality will naturally vary by data type.  Data quality tags are essential to the distributed model of the ANSS for decisions such as the "one answer".  Examples of elements in data quality may include, but are not limited to, latency, clock corrections and lock, completeness, estimation of errors, level of quality control (automatic, human reviewed), etc.  The definition of such national standards is outside the scope of the NAI subcommittee.

## Data exchange

Because of the decentralized nature of the ANSS, data exchange among the operational components is essential.  A wide variety of data products are likely to be exchanged, but, as described above, they generally fall into three classes:  continuous waveforms, discrete parameters, and large objects.  The ANSS will need to develop software to support the exchange of these data classes.  In addition to supporting these data classes, the ANSS will require two types of exchange protocols.  The first can be described as a standing order request, while the second is a discrete request.  An example of the standing order request might be the exchange of continuous waveform data between neighboring processing centers.  The exchange of associated station information, such as coordinates and instrument response, would also be considered a standing order – but of the parametric class.  In contrast, a request for a particular time segment, say, to fill in a data gap, would be an example of a discrete request.  Necessary attributes of the data exchange protocols are that they be robust and reliable.  Possible implementation considerations are the ability to prioritize data and allow for graceful degradation, using heartbeats and handshaking to insure completeness, error detection to avoid corrupted packets, and filtering to allow selection of particular data products.

### Standardized interfaces

A significant part of the total ANSS may consist of information contributed by local independent seismic networks.  Some seismic networks may want to continue to operate independently of ANSS.  These networks, such as private, or corporate seismic networks, may be willing to contribute information to the ANSS, and they may be interested in receiving information from the ANSS.

To facilitate cooperative, but independent, exchange of information, we propose that the ANSS establishes a set of data exchange interfaces.  Independent networks that are willing to contribute data to the ANSS would present the data to the ANSS through these interfaces.  Likewise, the ANSS would present its information to networks through these interfaces.  The effect of using these standardized network data interfaces is that all the network operations would be hidden behind the interfaces.  The ANSS would only need to know that a network supported the interfaces.  The networks themselves could then continue operate their network in the manner they prefer, without any other support for the ANSS.

In parallel with the data exchange protocols, the ANSS should establish a set of interfaces for three classes of data (continuous waveform, parametric data, and blobs).  For each class of data, the system should define a standing order and discrete request interface.

### Participation Agreements

The ANSS is likely to be a system of subsystem.  Often, the subsystem may be a local or regional seismic network.  We anticipate that there will be a two-way exchange of seismic data between the ANSS and these local networks.  They will also exchange configuration and networking information.  Given this inter-relatedness, and interdependency, between the ANSS and other networks, we believe that the ANSS should be designed so that no one part of the system can cause problems for the rest of the system.

As an example, it may be possible for a system to start to produce inaccurate data, or to generate bad routing information that could affect the rest of the system.  When such a problem is detected, the ANSS should be able to isolate, or reject information that is coming from another system.  Likewise, if a regional or local network is receiving information from ANSS that is believes is inaccurate, it should be able to stop the flow of information.

The system should be designed so that each interface requires bilateral agreement prior to data exchange.  The sender must offer data, and the receive must accept the data for a data exchange to occur.  Either side should be able to stop the data flow.  For maximum flexibility, each direction of dataflow should require bilateral agreement.  A network should be able to stop incoming ANSS data without stopping outgoing local data.  This bilateral agreement is to be supported by the system, allowing any subsystem to permit or prevent any data exchange they are involved in.

## System attributes

### Evolution

The ANSS is being designed at a time when technology is changing very rapidly.  From telecommunications to processing capabilities to networking to storage capacity, the technological underpinnings of the ANSS will change dramatically over its lifespan.  It is essential that the ANSS be developed so that it can grow and evolve over time, both to take advantage of these changes as well as changes in the needs of the user community.  In order to evolve, it is critical that the ANSS system be based on an open and extensible architecture.

### Standard protocols

The ANSS should use standard networking techniques including TCP/IP, domain name servers, and route determination using commercial standard routing protocols.  We feel it would be a mistake for the ANSS engineering staff to take on the design of replacement networking techniques as well as designing earthquake-monitoring systems.  Operational personnel are available for Internet routing protocols.  The operations burden will be increased if non-standard techniques are used.

### Modularity

The NAI subcommittee believes that the ANSS software and hardware components should be highly modular.  This approach has been used by the Earthworm development team, who advocate that each function in a system should be encapsulated in a separate module – and that each module operates independently.  While this concept may not be possible to adhere to in all cases, it has a number of advantages.  In particular, it allows new functionality to be added without compromising existing functionality.  Since the functional requirements of the ANSS are likely to evolve over time as new products are developed, this design principle should be utilized whenever possible.

### Middleware

A key concept in the implementation of the ANSS will be the preservation of interoperability.  As the ANSS is installed in an environment that is necessarily heterogeneous, and as technologies evolve, all steps to make the system architecture as open as possible will promote the initial success and continued health of the project.  Wherever possible, this means that standardization of interfaces should be done at the level of well-specified protocols.  Towards this end, a system of middleware, with clearly defined Application Programmer Interfaces (APIs), is a common solution.  Paraphrasing from a report on middleware by Danny Harvey, some of the goals that can be satisfied with well-designed middleware are compatibility with many different dataloggers; compatibility with many common real-time data servers; real-time support for data-processing, archiving, and distribution; network transparency; independence from particular data formats; compatibility with common archive formats; and compatibility with commonly used communications protocols.

The ANSS will necessarily be a system composed of many subsystems.  While the most rudimentary way to ensure compatibility amongst subsystems is to force as many parts as possible to be exactly identical, this rigidity can actually limit the ability to engineer a uniform output from the integrated system, by preventing varying regional implementation needs from being fully taken into account.  Well-designed middleware makes clear that systems do not need to be identical in order to be compatible; and in fact this approach will allow ANSS technology to evolve and improve with time as new innovations are made by regional participants.

### Scalability

The ANSS must be a scalable system.  The current proposals for the ANSS call for approximately ten thousand monitoring sites.  However, given recent advances in micro-electronics, this number could increase by several orders of magnitude as small sensors are distributed widely and used to monitor buildings, bridges, and lifeline networks.  Scalability is an issue for hardware as well as software.

One strength of the ANSS hierarchy is that its structure allows for tiered processing.  The approach of using satellite processing nodes (a local center, for example) in areas of denser instrumentation provides one tool for addressing scalability.

### Health and Status Monitoring

The ability to measure the health and status of the ANSS will be a critical aspect of the design.  The operators of the ANSS need to identify problems or failures in the system, ranging from loss of data due to communication problems to the failure of processing computers or equipment.

We anticipate that the implementation of a monitoring system will include elements such as the assessment of sensor health, connectivity to sensors and centers, data latencies, status of processing elements, status of computers, routers, and other hardware, and ability to perform data distribution.  In addition to monitoring individual elements, it is necessary to provide “total” assessments of ANSS components, such as a local or regional processing center.  The ability to evaluate a component’s capabilities will be critical to the success of this highly distributed yet hierarchical system.

### Reliability

Assuming good system management including aggressive equipment life-cycle management, off-line software development, end-to-end pre-production testing, and security adequate to prevent system wide failures due to external factors, current real-time seismic processing systems have proven quite reliable.  However, it is not possible to insure that a single processing center will not miss a significant event due to a massive systems or infrastructure failure.  Therefore, it is essential that the processing system include at least two geographically separated processing centers.

Although the total failure of a processing center is low probability event, a partial failure due to the loss of a significant subset of a seismic network or failure of element(s) of a distributed hardware/software processing system are much more likely.  Therefore, the system should be designed to promote "graceful degradation" during partial failures.  That is, the system should maximize the utility of the remaining capability.  For example, if the communications link between two processing centers degrades to half the required bandwidth, it would be much more useful to get complete waveform data from half of the stations than to get every other waveform packet from all of the stations.  Designing for graceful degradation will require a systematic study of likely partial failure modes.

### Ease of operation

Experience operating large seismic networks shows that substantial time and effort is required to operate these seismic networks.  The operational personnel needs of these networks can become a limiting factor on the size of networks that can managed.  This situation can be alleviated somewhat by developing system which are easier to operate.  The ANSS development should have significant effort devoted to making the system easy to operate.  Issues which should be addressed include configuration, initialization, and reconfiguration of the system, capabilities for offline testing, alternate systems for maintenance, diagnostic tools, operational procedures, documentation, and knowledge transfer.

# Issues and Tradeoffs

## Real-time System

### Interfacing Real-time and Near-Real-time Data

A significant proportion of urban strong motion station in the ANSS can be expected to have, for the immediately foreseeable future, near-real-time rather than real time communications.    This brings a suite of issues that will need to be dealt with.  None are insurmountable, but need to be kept in mind as planning of the ANSS and components moves forward.  Data from the near-real-time stations will by nature be triggered recordings of specific time periods which bracket the seismic event as experienced at the station.  The records, and their parametric data computed by the associated center, will have latencies not of several seconds, but several minutes (perhaps tens of minutes in worst case).  Operating experience in California indicates that a means to perform event association needs to be addressed as part of the design. Similarly, archiving needs to address the triggered and time-limited nature of the data, which can be quite different from real-time network data.  Other issues may be expected to surface as the design process moves forward.

## Rapid Notification and Distribution

### Early Warning

There will always be requests for faster production of rapid notifications.  The possibility of earthquake early warning keeps constant pressure on system designers to produce information quickly.  Indeed, USGS Circular 1188 calls for "where feasible, for sites at a distance, broadcast an early warning seconds before strong shaking arrives."

Systems aiming at earthquake early warning are adopting the approach of generating information as quickly as possible without specifically identifying their most rapid notifications as early warnings.  While this distinction, continuous performance improvement versus early warning, may seem semantic, it does provide a reasonable development path for the ANSS.  Design the system to produce rapid information and to distribute that information as quickly as it is determined.  The ANSS should support continuously reducing the amount of time it takes to generate earthquake notifications.  When the notifications are fast enough, early warning will be available.

As an aside, it should be noted that the early warning problem may be solved by moving the processing from a central site to the datalogger.  Then, notification that “an event is in progress” may be decoupled from waveform delivery and the associated latencies.

## Review and Analysis

### Role of the National Archiving Center(s)

An issue related to review and analysis is the question of when responsibility migrates from the individual processing center to the archiving system.  Is the “authoritative” information on an event always located at the regional processing center – and the information at the archive always a copy?  Certainly in the initial hours and days after an event, the authoritative copy rests with the processing center.  But there may be a natural time scale at which point the archiving center hosts the authoritative information.  Revisions after that point would have to be “checked out” (like a library book) from the archiving center.  This transition does not change the responsibility of a regional center for a particular product, rather, it changes the location of the authoritative information.

## Data Products

### Formats

Additionally, the ANSS rapid notification system should provide great flexibility in the data formats that it produces.  Given specific information, the format that it is distributed in should be easily manipulated.  The ANSS should be flexible in presenting earthquake information to users.  The system should provide data in the formats most useful to the system users, and should avoid forcing the users to adjust to an ANSS format.  The importance of giving the users the data in a format they want can hardly be overstated.  It would be a colossal waste of effort to build a huge system like the ANSS, and then generate large quantities of seismic data, and not provide data in useful formats.

Nonetheless, when specialty products or formats are requested, the ANSS will have difficulty matching the resources of organizations that can focus exclusively on producing data products.  We encourage the ANSS to avoid trying to produce all types of seismic products in which users express interest.  We encourage them to focus on core seismological data products and to focus on improving those core data products rather than on presenting the same data is a wide variety of ways.

### The One Answer Issue

It has been proposed that the ANSS produces “one answer” for any earthquake in the U.S.  This goal is motivated by the desire to speak with one voice.  It is disconcerting to the press and public and to the reporting organizations for a local network to report a magnitude 6.6 in Joshua Tree, while another reports a magnitude 7.1 in Hector.  The trouble involved in explaining both answers is so great that producing one answer for any event is highly desirable.  Some of the options for addressing this problem are described in the following sections.

#### Identical Processing

It is possible for centers in the chain to produce the same answer if several conditions are met.  These conditions include (1) all organizations producing information have access to identical waveform data, (2) all organizations producing information have access to identical infrastructure information (station location, and instrument gain) and (3) all organizations use identical processing routines are used.

Problems with this approach are numerous.  For example, it is hard to imagine all organizations having access to the same raw data.  It is also difficult to imagine all organizations using identical processing routines.  While a “purist” approach to identical processing may not be adopted, it is possible that some aspect of identical processing may be useful in producing similar results at different organizations.

#### Closest Reports

It is often stated that the network closest to the event will produce the most accurate information about the event.  They have the close in information, and they have local expertise.  Given the principle that information from the closest network is best, a solution to the “one answer” problem could be designed in which all levels of the ANSS use the local networks information if it is available.  Local networks report their results and pass them up to a regional center through the ANSS.  As information moves up from network, to regional, to national levels, all organizations have access to the information that was reported at the lowest level.

This approach also has its problems.  First, there is no guarantee that it will be possible for the local network to pass along their results through the ANSS.  Also, it is possible that a regional center will have better information than a local network

#### Rank Data Sources

Another strategy for this problem is to prioritize, or rank, data sources.  In southern California, this is termed a “trump” system.  Each time there are competing sources of a data item, the source are ranked.  For example, network Ml’s might outrank regional Ml’s and regional Mw’s might outrank local Mw’s.  Ever data item has a hierarchical rank and reporting organizations report the highest ranking information they have, regardless of it’s source be it themselves, or some other organization.  With this approach, information exchange must be bi-directional.  Prior to releasing information, an organization must consider all available information, not just their own.

In addition, there is also a timeliness issue with seismic information.  Information may be available at one location, but not at another.  Local organizations report their highest ranking information may still report different results due to the distribution problems.

#### Conclusions

While the “one answer” problem cannot be solved from a deterministic perspective, it can be solved from a management perspective.  A set of business rules must be established that define the “one voice”.  The technical problem is that the rules a group of humans produce may be complex to implement in a set of computer algorithm within a distributed system.  The goal of the ANSS should be to produce a unified set of parametric data for the public while retaining alternative estimates.

### Data divergence and convergence

The prospect of having processing done at multiple centers, or even by multiple systems (operational and backup) at the same center, brings up the possibility that slightly different answers may come out of supposedly identical systems.  In practice, this is almost unavoidable, especially as data-rates increase.  For example, difference in data latencies may result in differences in the time order of picks received by an associator module, which may produce different estimates of an earthquake’s location.  Also, with many data flow paths, part of the motivation for redundancy is to make sure that something is always running even if one particular data-flow path drops out.  Thus there is always potential for slightly different output from various overlapping systems.  This potential divergence should be handled at the outset.  In other words, the final system needs procedures to integrate the outputs of various data-flow paths and redundant systems, such that there is always one stable, authoritative answer for each piece of data or data stream.  Note that these procedures may not have to all be automated or software-driven: in some cases the procedures could amount to a human operator deciding to go to a redundant backup system instead of a main operations system.  In other cases it may be possible to automate part of the integration of multiple system output into a convergent answer for all of ANSS, for example earthquake solutions from regional and national centers may be able to be decided amongst with automated algorithms.  For some of the issues the concept of “authoritative region” may be useful.

An advantage of handling well the engineering of data-divergence issues is the possibility of building algorithmic redundancy into the ANSS.  There is some advantage, if multiple systems are doing essentially the same task, of not having identical software running in all places.  To quote Alex Bittenbinder, “there’s no point in having two systems divide by zero at the same point.” Allowing at the outset for integrating the diverse input of multiple software solutions may allow for a far more robust processing system and interconnection system in the end.

As a final note, where divergences between multiple copies of the same data stream are concerned, it will be critical to assure that no data-loops are created in the ANSS.  This is related to the problem of provenance of each data stream.

## Timeliness and completeness

It will be critical for the ANSS to deliver products in a timely fashion and for these products to be as complete as possible.  The NAI subcommittee has been urged to quantify some aspects of the ANSS.  We recognize that some of these aspects lie outside of the scope of the subcommittee, but we present these numbers to generate discussion about appropriate performance standards.  Note that it is not possible to complete this table without some knowledge or expectation of what the deliverables are.

| Item | Latency range | Comments |
| --- | --- | --- |
| Continuous data acquisition | < 1 sec - 10s of sec | Different telemetry systems have different latencies. Overall, it is probably to specify a range. Latency will also likely to depend on the data rate, with lower rates having longer latencies. |
| Triggered data acquisition | 10 sec - 10 min | The "call out" systems can be variable in response. Current systems depend on local phone lines, which will lack deterministic response during a disruptive earthquake. |
| RT processing access to waveform data | 1 sec after acquisition |  |
| Preliminary hypocenter | 30 sec | This will depend on the location of the earthquake with respect to the network. Shorter time frames will be available in areas with denser instrumentation |
| Updated hypocenter and preliminary magnitude | 60 sec - 120 sec |  |
| Preliminary ShakeMap | 3 - 5 min |  |
| Updated magnitude; seismic moment tensor | 5 - 6 min |  |
| Rapid review | 5 - 10 min after notification |  |
| Revised review | within 72 hours |  |
| Data completeness | 95% within 2 minutes 99% within 2 weeks |  |

## Operation of the System

### Scalability

When completed, the ANSS will encompass more seismic stations and process more data than any other network to date.  Following the standard maxim “any complex system that works is based on a simple system that works,” the question is whether a system that works for hundreds of stations can be generalized to handle thousands merely by adding more components.  This is possible if the interconnection mechanisms between the components are well thought out and if the software is designed to address scaling problems.  Many software developers approach the scalability issue by transferring it: to the greatest extent possible, solve the problem with hardware.  Buy bigger machines - or more machines.  A major aspect to consider here is the linearity of the scaling: whether doubling the processor power or other available resource actually doubles the performance or data-volume handling ability of the system.

In analyzing scalability issues, one should recognize that functionality (number of fancy features in the system) and performance tend to be inversely related.  For scalability reasons, therefore, it may be advantageous to have the communication substrate for the system not do a lot of extra fancy processing.  Wherever possible, it is good to heavily leverage the capabilities of existing communications protocols and operating systems features.  For example, this could mean relying on the checksums and packet-dropout detection of TCP/IP where possible, or relying on operating system features such as threading as much as possible for multitasking.

### Security

Issues related to security have several different levels.  For the CTBT, the Air Force has requested both a 16-character random serial number and a 16-character password with encryption  - just to get access to the datalogger.  The ultimate security would be to require a digital signature in every packet.  This implementation design would increase cost in terms of required bandthwidth as well as reducing performance due to extra processing.  The NAI subcommittee not recommend this level of security.

However, there are numerous areas where security needs to be addressed.  For example, the ANSS must ensure that critical computers for data acquisition, processing, and archiving are secure against intrusion and “hacking”.

### Reliability

The simplest statement of the ultimate reliability specification of the ANSS is that a total system failure during any significant event is unacceptable.  In practical terms this means that enough of the ANSS must be operational to provide acceptable quality information about any possible potentially damaging event in the U.S. throughout the life of the system.  On the other hand, it should be expected that the full performance of the system in terms of response time and accuracy should be available a very high percentage of the time.  This is inevitably a cost-performance issue.  100% availability is, in practice, impossible to guarantee (e.g., against "acts of God") and the cost of closely approaching this ideal grows exponentially.  This is the best single argument for multiple, geographically isolated, data processing centers.  Finally, it seems obvious that the goal should be for the ANSS to function at the highest possible level possible under any possible circumstances.  That is, performance should degrade gracefully as components of the system fail.

The most obvious failure mode is the complete failure of a single data processing center.  This can occur through catastrophic damage to the facility, but is more likely to be due to infrastructure issues, particularly power or communications.  Experience indicates that complete processing center failure occurs on the order of a few hours per year (i.e., availability of 99.977%).  Barring a common failure mode, designing the system around two separate processing centers increases system availability to 99.999+% (i.e., a system down-time of a few seconds per year).

However, it is much more likely for a partial failure at one or more data processing centers to compromising system performance.  Common scenarios include the loss of significant subsets of field stations due to the failure of a communications interface, the failure of a module in a distributed, loosely coupled hardware and software system, or the failure of non-real-time data storage (e.g., DBMS) and review subsystems. The impact of such failures can vary from increased latency to the loss of major processing subsystems (e.g., earthquake location).  Because partial failures often require considerable time to diagnose and repair, experience suggests that such failures might affect a processing center for as much as 1 day every two months (i.e., full capability availability of 98.333%).  Note that in an 8 data processing center system, the probability of a partial failure somewhere in the system exceeds 12%.

### Communications

The need for reliable communications among all elements of the ANSS is obvious.  This can be interpreted as the transmission of complete, error free data streams.  Assuming standard communications protocols (e.g., the TCP/IP protocol suite), this means the delivery of all data packets in order and without errors.  The use of connection protocols (e.g., TCP), meets these requirements, eliminating all single bit and most multiple bit (per packet) errors.  Of course, the resulting bit-error-rate (BER) depends on the quality of the circuit.  The disadvantage of connection protocols is that they are prone to "hanging" (data flow stops and is not restarted automatically), increased latency (due to the retransmission of bad packets), and the loss of all data on very noisy circuits (rather then the delivery of some data with errors).  Experience indicates that for high speed, intra-urban communications, this trade-off is acceptable.  However, the use of connection protocols in rural areas (i.e., for seismic stations) is problematical.  The use of connectionless protocols (e.g., UDP) eliminates problems with hanging and latency and provides a multicast capability.  However, the delivery of complete, error free data requires perfect communications circuits or a higher level, user developed and supported protocol layer.

In practice, the dominant source of data errors is not the failure of protocols such as TCP, but the disconnecting and reconnecting of the protocol due to communications problems or resetting hardware or software at either end.  This suggests that a higher level, user defined and supported protocol layer is needed for either connection or connectionless protocols.  The primary purpose of this layer would be to ensure the continuity of packet delivery across protocol disconnects.  For connection protocols, the addition of bi-directional "heartbeats" also provides a means of dealing with "hanging".  Other desirable properties of the user protocol level are less clear.  For example, should this level provide additional error detection and/or correction capabilities?  Should the user protocol allow out-of-order data to achieve the best balance of latency and completeness or should it discard out-of-order data to minimize latency?  To what extent should the user protocol facilitate or restrict user connections and reconnections?  Should the protocol support a request mechanism?  Should the user protocol support multicasting using connectionless protocols?

### Maintenance and Support

We understand that an important aspect of the ANSS project is to move the state of seismic monitoring in the U.S.  from the current a patchwork of independent networks to an integrated and cohesive system.  Our discussion concerning this goal of an integrated system caused much debated and we would like to present some of the issues discussed for consideration.

#### Systems Engineering Approach

We encourage the ANSS management and development groups to consider the ANSS as a system.  Our definition of a system is “hardware, software, and people working together to solve a particular problem, or to produce a desired effect.”

We feel that all three of these aspects of the “system” need to be considered in order to produce a satisfactory system.  The systems approach implies there is some balance between these areas.  One-way of evaluating whether an area is receiving sufficient consideration is to ask if it is receiving any funding.  If the funding for hardware is 2 or 3 times the funding for software, maybe the system will have outstanding hardware, but the processing system will be not reliable, or robust, or will not produce the desired information.  If the funding for software is large, but there is no funding for system operators, there may be problems keeping the system up to date.

We recognize that some system are all software, or all hardware, and this idea of balancing available resource between these three aspects of a system (hardware, software, and people) may not be applicable.  However, we feel that this perspective is worth considering.

#### Assemble versus Build

Our discussions lead us to the following dilemma for the ANSS management.  Building a new system leads towards a more integrated and cohesive system.  However the cost of developing a system is significantly higher than assembling one from existing working parts.  Assembling an ANSS from existing networks leads to a less cohesive system but increases the speed of development and reduces costs.  It is difficult to assemble existing parts, and to cause them to behave as a cohesive and integrated whole.

It is very common in seismological networks to assemble their networks from a variety of pieces.  As network increase in size, they become more and more heterogeneous in seismic equipment, computing hardware, and processing software.  Based on the size of the ANSS, this type of heterogeneity is going to be a big issue for ANSS.

#### Operational Roles

The existing ANSS documentation presents a thorough analysis of the users of the system.  These users include global seismologists, regional seismologists and others.  We encourage the management to develop a similar analysis of the roles needed to develop and maintain the system.  These roles would include software designers and developers, maintenance programmers, network administrators, database administrator, technical writers, technical trainers, duty seismologists, seismic analysts, technical support staff, and technical management staff.  Then, given the Roles involved, they system should budget support for properly trained operations staff to perform these roles.

The experience among network operators in our group indicates that the operations roles are almost always under estimated, and understaffed.  The technical sophistication level proposed for the ANSS is fairly high involving technologies such as distributed real-time computing, LAN and WAN networking, and relational databases.  There is a very common practice in networks to assign geologists, post-docs, and seismologist to perform seismic network operations tasks.  They fairly quickly are no longer seismologist, but system operations staff.  ANSS may get better system operations, and happier seismologists if it hires operations people for network operations work, and seismologists for seismological positions.

#### System Lifecycle

One more perspective offered by the “systems” view is to consider the lifecycle of ANSS.  There are several issues related to the lifecycle of the system worth considering.

To begin, how long is the system expected to last? What is the expected lifespan of the ANSS? Computer and software system typically have a fairly short lifespan.  A realistic lifespan would probably be about 10.  Within 10 years, the hardware and software technology will have progressed to the point that anything developed now will look obsolete.  By establishing a nominal lifespan for the system, now during the planning stages, you relive the developers of the burden of trying to consider what will be needed 10 years from now.  They can just assume that another system will be build by them.

Another issue worth considering is how the ANSS staff roles change during the systems lifespan.  During early development you need visionaries, and politicians, and system and software designers.  Then, once designed, you need software developers, and installation groups, and project managers.  Then, once operational, you need seismic analysts and duty seismologists, and maintenance programmers, and technical writers.  It has been a common mistake within existing networks not to recognize the changing personnel roles as a project progresses.  Just as there is a difference between a global research seismologist and an operations oriented duty seismologist, there are differences between software designers and maintenance programmers.  It is important to make these types of distinctions in all the roles in the system during its life cycle.

Groups familiar with software system development report that 50% of the cost of software development occurs during the maintenance phase of a project.  Rather the reducing the software development budget by half to reserve funds for maintenance, maybe the software development budget should be doubled with the increase earmarked for the maintenance phase of the project.

## Role of National Processing Center(s)

The ANSS is envisioned as a broadly distributed system.  In a change from the conventions established by the CNSS, ANSS regions are fully adjoining, but do not, in general, cover seismicity outside of the U.S. borders.  The national processing center(s) is anticipated to play several roles including:  monitoring global seismicity, providing staffed 7x24 operations, acting as a backup for the regional centers, and responsibility for the national earthquake catalog.

### Backup for regional operations

The USGS Circular 1188 identified the national center as contributing to the reliability of the system by acting as a backup to the regional processing centers.  There are issues with respect to this role which need to be explored before the system is fully designed.  For example, should the national center reproduce the full capabilities of each processing center?  This requires all waveform data being transmitted to the national center.

### Global seismicity

The U.S. has a national interest in monitoring global seismicity.  Accordingly, it is appropriate for a national center to have the responsibility of monitoring earthquakes on a global scale.

### 7x24 Operations

Rapid notifications require rapid review, in order to confirm their validity or to remove spurious events.  It is anticipated that each operational processing center will require having staff on call at all times, as is the current norm in many parts of the country – with the expectation that earthquake alarms will be reviewed within a few minutes after notification.  Although the acquisition of ANSS hardware and the development of software are expensive, in the long run, the most expensive component of the ANSS is the time of experienced staff.  Thus, although it does not seem cost effective to require 7x24 staffing at all regional centers, it is reasonable to support this at the national processing facility.

### Earthquake Catalogs

Each regional center will be responsible for its earthquake products.  The national center will have the responsibility to construct a seismicity catalog that is a superset of the regional and global events.  The national center should serve as an arbiter among the regions in resolving divergent views of the same earthquake.  Appropriate business rules and mechanisms will be required to keep the national and regional catalogs synchronized.

## Technology

The rapid evolution in technology is the one of the greatest uncertainties in the ANSS development.  Many problems which may appear to be difficult to solve now will be trivial issues in a few years.  Critical areas for technological impact are networking and telecommunications.

As we plan for networking support for the ANSS, it is useful to consider imminent possibilities for network evolution.  This could forestall a premature commitment to a particular networking architecture based on networks that could already be obsolescing in the early years of ANSS implementation.  There are at least two complementary forces for change in the network landscape: the promise of end-user access to individual wavelengths of light as ever denser wavelength division multiplexing is realized, and the movement of network intelligence and control capabilities from the core to the edges of networks.  The time horizon is about five years; the developments are already being realized in the laboratory and are being built into vendor offerings.  Commercial ventures are just beginning to make offerings that are clearly on the road to the capabilities predicted above, and the main obstacles to their full realization will be workable business models, regulatory acceptance and end-user or "last mile" access to the advanced networks.  The next paragraphs describe the concepts in somewhat greater detail.

Wavelength Division Multiplexing (WDM): the image of the tremendous information capacity of modulated laser light carried over fiber optic lines thinner than a human hair has been well planted in the public consciousness.  But, the capacities have been growing explosively as better fiber formulations have emerged together with the ability to illuminate the fibers with more than one wavelength of light.  In general, a fiber that transmits n individual wavelengths ("lambdas") simultaneously without cross-wavelength interference will have n times the capacity of single wavelength illumination.  When n ranged from several to about ten wavelengths, the technology was called wavelength division multiplexing (WDM).  By now, the newest commercialized technology has pushed n to about 100, with the resulting terminology of Dense Wave Division Multiplexing (DWDM), and (n=) 1,000 individual wavelengths have already been demonstrated in the laboratory and should be commercialized in the next few years.  The latter regime is termed Ultra-Dense Wave Division Multiplexing (UDWDM).

At the same time, fiber technology has increased the distances that the modulated light signals could travel before re-amplification is needed.  Current technology is in the 100-1,000 km range (needs verification).  And, more pairs of fiber (one fiber for each direction of a connection) can be packaged into a single bundle.  For example, the fiber cables that fill the diameters of the multi-color plastic bundles of conduits that many of see being fed into our torn-up streets can carry almost 700 fiber pairs.  With 100 to 1,000 wavelengths each, somewhere between 70,000 and 700,000 independent lambdas are possible for a single cable (most fiber bundles hold some fibers in reserve, so perhaps only half of what is possible would actually be pressed into service).   Of course, when several conduits are buried, several cables can be deployed.

As for the information carrying capacity, each wavelength can be modulated routinely to carry somewhere between 10 and 40 billion bits per second (Gbps), and those limits may also rise.  So, even at the low end of the estimates, the total capacity of a cable would be in the range of half a million to a million Gbps.  But, before trying to cope with the implications of such large numbers (recall that a commercial television channel occupies about 10 million bits per second, Mbps, and the USGS backbone network was, at least until recently, no more than 45 Mbps--needs checking), the real payoff is likely to be how the individual lambdas are used, rather than their possible contribution to huge aggregate numbers.

The memories of the "Phone Company's" touting of its "Intelligent Network" are still fresh.  But, the Intelligent Network, with all the equipment and capability for managing end-users' network services maintained in the hands of the big carriers, has seen its heyday, even though most of us are still using that model for our current networking services.  Intelligence is rapidly moving out of the core and ever closer to the end-user.  The Intelligent Network core is being replaced by the Dumb Network core.  Increasingly, enterprise network managers are able to order bandwidth from Point A to Point B as a commodity and configure their networks that use the commodity bandwidth with their own equipment.  Futures markets in commodity bandwidth are emerging.  It is only a matter of several years until enterprise network managers will be able to rent or purchase individual lambdas as commodities through brokers.  It is entirely likely that a network could be pieced together for days, months or years, as needed, from lambdas supplied from several vendors for the desired links of the network, using the intermediation of brokers at vendor "hotels."  Remember, this is happening already with more modest bandwidth aggregates.  However, in the not too distant future, the unit of networking commerce is likely to be the individual lambda.  With all the capacity that is likely to be available, it need not be used efficiently to be used effectively--we will be able to afford wasting potential bandwidth in order to fashion networks that meet an enterprise's needs effectively.

So, getting back to our grand design for ANSS, we should not wed the architecture irreversibly to present day networking offerings.  Rather, we should embrace designs that are sufficiently flexible to take advantage of the emerging world of networking described above.

# Functional Design

## Distribution from datalogger to node

Specifications for distribution of data from the datalogger to a processing center must address several issues:

- redundant communications paths

- legacy systems

- communications limitations and costs

- high dynamic range, wide frequency band, and high sample rates

- diverse and dynamic station/channel priorities

- status information and QC

- maximum functionality and reliability balanced with minimum complexity

- authentication

| station type | data availability | paths required |
| --- | --- | --- |
| NSN Backbone | waveforms/status (seconds) | multiple centers, redundant media |
| Regional Backbone | waveforms/status (seconds) | multiple centers, redundant media |
| Auxiliary | waveforms/status (seconds to minutes) | multiple centers |
| Free Field SM | waveforms/status/derived (seconds to minutes) | multiple centers |
| Reference SM | waveforms/status/derived (seconds to minutes) | multiple centers |
| Structural SM | waveforms/status/derived (hours to days) | regional center |
| Other | waveforms/status/derived (hours to days) | regional center |

### Communications Paths

Redundant communications paths are required for NSN and Regional backbone stations.  These paths will not only require data transmission to multiple centers, but the use of multiple communications media.  The media will be chosen such that the strengths of one offset the weaknesses of the others.

Real-time full waveform transfer is required for NSN and Regional backbone stations.  Packet verification and retransmit capability must be maintained to ensure minimum data gaps.

ip based communications are strongly encouraged to provide standard application interfaces.  We have learned through experience that this protocol provides many advantages and should be used wherever possible.  Further, tcp/ip is useful for point to point communications but may not always be appropriate (e.g.  udp or other protocols may be more appropriate in some cases).  Data exchange formats will be such that either direct interfacing with standard seismological applications is provided, or appropriate interfaces to these applications, or a means to create them, must be supplied.

3 days of onsite data storage are required for NSN and Regional backbone stations.  Methods to retrieve these data in the event of communications loss shall include both on-site and remote capability.

### Legacy Systems

Interfacing with the ANSS is the responsibility of operators of legacy systems.

### Communications limitations and costs

Recognizing fiscal limitations not all stations will be real-time, nor redundant, nor dedicated.  This determination is best made at the regional level.  For example, auxiliary stations may have real-time communications, and may be transmitted to multiple centers, but communications may use standard public internet.

### High Dynamic Range, Wide Frequency Band, and High Sample Rates

The dynamic range, frequency band, and sample rate will govern the required communications and is highly station dependent.  Real-time NSN and Regional backbone stations should provide high dynamic range (24 bits) but may be sampled at 20-40Hz.  Auxiliary stations (which may include backbone stations) may provide high dynamic range but will generally provide higher sample rates on the order of 100Hz.  Recognizing that currently employed compression algorithms become highly inefficient for large fluctuations in data values (i.e.  during an earthquake) latencies produced by such algorithms should not become so large as to adversely affect operations.  Latencies for NSN and regional backbone stations should ideally be less than several seconds or tens of seconds under exceptional circumstances in order to produce timely products.

### Status Information and QC

Periodic and ongoing status information must be available for standard processing at the center.  Information such as mass position, satellite lock/timing corrections, sample rates, channel names, temperature, connection quality, and data outages.  These data should be applied to the waveforms automatically and reviewed by the analyst.

### Maximum Functionality and Reliability Balanced with Minimum Complexity

It must be recognized that increased complexity and functionality reduces reliability and increases cost.  It is therefor likely that no solution will meet the requirements of all station types and mechanism must be employed to incorporate multiple hardware and software systems.  Backbone systems designed primarily for rapid and automated determination of hypocenter and magnitude are different from free-field strongmotion systems designed to monitor maximum amplitude and magnitude to produce rapid shake maps which are different from structural instrumentation whose data may not be required until well after the event (though for critical facilities and lifelines, these data may be needed within several minutes to an hour).

### Lineage

A means of uniquely identifying the source of a datastream is essential.  Regardless of multiple paths and communications media, the authoritative source shall be the region responsible for a given data stream.  In no case shall multiple regions be the responsible party.  It is incumbent upon the participants of cooperative stations to determine the responsible party.  Transmission along multiple paths is for rapid information purposes only--reviewed and quality controlled archival data should be provided by the responsible party.

## Distribution among nodes

## Real-time processing

Processing of ANSS data for rapid earthquake information requires access to data in real-time buffers.  Although we place no constraints on the implementation of real-time buffers (e.g.  via a DBMS, RAM, or disk), however, it is necessary for data to be available to applications within a time frame where the results of the application are most useful.  They must further retain availability long enough for applications to obtain the required information.  Ideally, applications will obtain information from the buffers as the information becomes available and then utilize application buffers.  This approach negates the need for application independent buffers from having to predict all possible scenarios and needs.  In some cases it may be desirable to place a software buffering layer between applications and real-time buffers in order to obtain a variety of application class dependent buffers.  So-called real-time applications may need information anywhere from seconds to minutes from the earthquake origin time.

Driven by the earliest product and the slowest product ...

Owing to the mission critical nature of real-time buffers, applications should gain information or attach to the buffers such that loads are predictable and can be strictly managed.  These applications should provide standard interfaces, preferably at the protocol.  Furthermore, it is necessary that requests to the buffers for data outside of the "available" time window be handled gracefully.

Buffers should be capable of populating, either via applications or directly, with other buffers not necessarily residing on the same physical system or within the same geographic region.  There may or may not be overlapping information in "neighboring" buffers.

Appropriate auditing tools should be provided to monitor the performance and use of real-time buffers.

Buffers should fail gracefully and provide alarms to alert appropriate staff on imminent failure.

Some mission critical buffers may require dual-buffering.

## Rapid Notification and Distribution

Rapid earthquake notifications will be on of the Advanced National Seismic System’s (ANSS) most important responsibilities.  Rapid earthquake notifications (also known as rapid notifications) typically consist of location and magnitude information.  This information is routinely sent to the researchers, and to the public within about 5 minutes after a local event.  The notifications may take many forms including e-mail, belt pages, computer pages, and information posted to web sites.

It is likely that the ANSS will need to produce more than just location and magnitude information immediately after significant events.  Some currently active seismic networks are now reporting information such as “early bird pages” (i.e.  very fast hypocentral information), acceleration pages, acceleration reports on specific groups of sensors, ground motion spectral period information, ground velocity, displacement information, and a wide variety of data formats information such as web and data distribution formats.

The ANSS should be developed so to support a wide variety of rapid notification information.  The system should be capable of rapidly determining many types of earthquake information, and each type information must be delivered in multiple formats.

In the following sections, we discuss requirements for the ANSS rapid earthquake notification system.

### Design Goals

The ANSS rapid notification system should be designed to be fast, accurate, reliable, robust, and flexible.  These and other characteristics of the ANSS rapid notification system are discussed in the following sections.

#### Precision

The ANSS should provide highly precise information.  The ANSS designers should evaluate the standard precision of the essential earthquake parameters and meet or exceed the current practices.  We anticipate that users will ask for more and more precision in the future.  Design in the precision now.

#### Accuracy

The accuracy of the information provided by the ANSS will depend on many aspects of the system.  The ANSS should be design using the assumption that the accuracy of the information it produces will improve during the system use.   Accuracy and speed are often a tradeoff.  Users will often accept lower accuracy for higher speed.  The system should provide accuracy information along with each data product.   Also, the system should give users options when more than one source of information is available, identifying the speed and accuracy tradeoffs when applicable.

#### Reliability

It is very important that the ANSS rapid notification system be highly reliable.  By reliability we mean that the system continues to run without problems.  The emergency response users of the ANSS, in particular, need fast and reliable information.

The reliability of rapid notification systems during large events is not too good.  One reason for this is that large events are rare and it is difficult to simulate the conditions that the system experiences during a large event.  Reliability for large events requires not only the outstanding system design and implementation but also expert system operation.

To achieve reliability, good design, good implementation, system testing, and competent operation are all important.

#### Robustness

The ANSS rapid notification system should be robust.  Robustness implies an ability to continue to work when there are problems.  For example, the ANSS rapid notification system may be implemented using a primary and a backup processing system.  This would add robustness by providing information from the backup system if the primary system fails.

Robustness in the ANSS can be a costly issue.  Robustness can often be purchased by duplicating hardware, or communications systems.  However, the costs for duplicate system are often prohibitive.  The ANSS designers should present robustness options to the ANSS management, and they should identify the costs associated with each level of robustness.  The ANSS management can then make the cost/benefit decisions necessary while building the ANSS.

#### Rapid Information Production

The ANSS rapid notifications must be fast.  We recognize that regardless of how fast the system is, someone will want the information faster.  The goal for the ANSS should be to support continuous improvements in speed of production.  Try to avoid building in any systematic delays.

Rapid notifications depend on fast data acquisition, fast parametric calculations, and immediate distribution.  The ANSS should be designed to support the following characteristics.

- Low latency data acquisition.  To calculate parametric data quickly, we need fast access to waveform data.

- Application programs most have real-time access to waveform data.

- Real-time distribution of derived parameters between real-time application programs

- No built in system delays.  Avoid system delays such as processes that say we will wait 90 seconds before we distribute any information.

#### Support for Delivery Methods

The ANSS should support many distribution methods for its rapid notifications.  As earthquake information is produced, it must be delivered to users.  At this time, delivery may involve email, paging, posting to web sites, and printing data sheets.

Our experiences generating rapid notifications have shown us that delivery methods change rapidly.  When CUBE and REDI started, pagers were the delivery method of choice.  Now, pagers are much less important, but users can’t live without web-based information.  In the future, who know what users will demand.

The ANSS should provide significant flexibility in the delivery methods it supports.  The system should be designed with the understanding that delivery methods will change.  The system should not be designed around a single delivery method, such as the web, because that delivery method may be obsolete by the time the system is fielded.

### Requirements

The designers of the ANSS should be given the room to improve on any system that currently exist.  We therefore are hesitant to specify implementation specifics that the ANSS must use.  However, based on the substantial experience of the committee we would like to discuss some implementation specifics in order that the ANSS does no worse than the implementations achieved so far.

In this section we discuss system requirements and implementation details that are important to the ANSS rapid earthquake notification system.

#### Parts of Alarming System

Currently, real-time monitoring systems frequently separate the functions in rapid notifications out into several parts.  This design approach helps to modularize the rapid notification system.  The following discussion may bring out some of the features of such system.  This discussion is based largely on the TriNet system.  The ANSS should provide this type of functionality.

Declare an Alarm:  In the TriNet system, names are given to sets of criteria.  These names, such as CUBE_DAY or BOMBAY_BEACH, represent a set of pre-selected values including geographical location, number of phases in solution, magnitude, number of stations in magnitude, and time of day.  When the system declares an event (e.g.  locates an earthquake), it is compares the event information against each alarm criteria defined by the system.  When an event meets the alarm criteria, the alarm is raised.

Determine Alarm Actions:  Whenever an alarm is raised, the system then checks what actions it should take for that particular type of alarm.  The determine alarm action stage is sometimes considered a “fan out” stage because, for a specific type of alarm, multiple actions are frequently performed.  For example, when a CUBE_DAY alarm is raised, the system should generated email messages, belt pages, and event review pages.  By separating the Alarm criteria from the actions taken, new actions can be added without impacting the alarm criteria portion of the system.

Distribute Alarms:  A third stage in alarm processing implements the individual actions that are called for in the alarm actions.  The distribution processing for alarms must support a wide variety of actions as describe earlier.

An important element of alarm distribution is that for each action, there should be a cancellation action for that alarm.  If an action has been taken, and the event is withdrawn, the system should be able to cancel the alarm previously distributed.

#### Accuracy of Reports

The ANSS alarming system should support version information on all data that it distributes.  When information is updated, the updates should take precedence.

The ANSS alarming system should support alarm reversals.  If bad alarm information is distributed, the system should support cancellation of any rapid notifications that were sent out.

The ANSS alarming system should identify information that has been human reviewed.  Human reviewed information is considered more accurate than automatic information so distinguishing human reviewed information from automatic information is important.

#### Information Hierarchies

The ANSS should support a system for prioritizing earthquake information.  In simple terms, the ANSS rapid notification systems will receive many reports, and they will distribute the higher priority reports.  This prioritization system will require both designer and management support to work but it is likely to be a key element in enabling the system to produce respectable results.

Two examples may server to illustrate the basic ideas here.  First, before TriNet, the SCSN used a magnitude rating system to determine which magnitude should be reported to the public.  The system had various types of magnitudes available including Mcd, Ml, Me, and human entered magnitudes.  The rapid notification system reported the first one it had, then if a higher priority magnitude became available, it updated its previous report.  If a lower priority magnitude became available, it was not distributed.

A second example of information hierarchies is the system implemented by the Simpson maps.  Any network can report any event it has.  However, reports from the network in which the event occurred has precedence.  This type of prioritization will be essential in implementing ANSS rapid notifications.

#### Format and Delivery Flexibility

Earlier, we discussed that it will be very important for the ANSS to support many formats and delivery systems for its rapid notifications.  We believe that a system design that makes use of a relational database system will make such flexibility possible.

TriNet is an example of a system that generates all of its rapid notifications from database reports.  By storing event information in database tables, the information can be retrieved and reformatted easily.  Individual distribution systems can retrieve the data they need, and format the way the want.

To implement this approach to rapid notifications, all the information required by the rapid notifications must be in the database.  If a notification requires information not in the database, the system must be modified to include it.

A potential limitation of this approach is that interactions with the database may add delays to the rapid notification delivery time.  The benefits of generating notifications from database reports significantly outweighed the small increase in processing time.

To support public and private distribution of information to appropriate people, the ANSS should support a publish/subscribe model of distribution for publicly significant types of information.  In this model, a list of available information is made available to users.  The users then select the types of information that they would like to receive and the delivery method by which they would like to receive it.

This method of publishing what is available, and allowing users to subscribe to what they are interested in, significantly reduces the attention the seismic network operations staff must devote to distributing rapid notifications.  It is important for any distribution of information to give users an easy way to opt out when they wish.

#### Robustness of System

Along with speed, robustness will inevitably never be good enough.  The rapid notification system’s role in emergency response requires a highly reliable and robust system.  Some techniques used by existing system to be considered for use by the ANSS are described here.

The Earthworm system was designed using the concept of heartbeats.  This is a valuable technique which allows a monitoring program to determine which other computers and programs are currently alive.  Loss of a heartbeat from a program may be addressed by restarting that program.

The TriNet system improves its robustness by operating two rapid notification systems, a primary system and a shadow system.  Each system generates event information, alarms, and rapid notification information.  The systems also monitor each others state of health.

As rapid notifications are generated, when the notifications are in the distribution stage in processing, the systems check their role before distribution information.  The primary system always distributes its information.  The shadow system determines its role and refrains from distribution information so duplicates are not generated.  The exception to this is if the shadow sees that the primary state of health is down.  Then it proceeds to distribute its information.  This technique reduces duplicate information, and also allows the shadow to distribute information if the primary is non-operational.  The ANSS should consider techniques such as this to improve insure robust distribution of earthquake notifications.

An additional robustness technique to be considered by the ANSS may be a combination of system and procedural techniques.  A layered approach to reporting may be implemented.  Local networks report local events.  If the local network does not report, the system fails up to the next level of the ANSS, possibly a regional network.  If the regional network does not report, the national level will report.  While this “fail up”, or layered approach to reporting needs to be refined, it is likely that the ANSS rapid notification system will need to support such as system.

## Post-earthquake processing

Specifications for Archival processing must address several issues:

- real-time vs.  post-processing vs.  archive

- diverse archival information

- diverse archive population times

- QC

- diverse sources

- lineage

Archival information must be dynamic.  Completeness and quality will be time dependent:

| process | information type | latency |
| --- | --- | --- |
| Automatic | waveforms, parametric, derived | seconds to minutes |
| Reviewed | parametric | minutes to hours |
| Quality Controlled | all | days to weeks |
|  | Meta Data | hours to days |

We make the distinction here between a permanent archive most likely to be administered by an established Seismological Data Management Center and an online archive operated by the various Regions.  Further reference to archive is assumed to refer to the online archive unless otherwise stated.

The ANSS archive will be a distributed system of databases.  Each Regional Earthquake Information Center (REIC) will maintain a relational database system linked with the other REIC RDBMS's.  While some REIC's may choose to hold more information in the database each will not necessarily contain all data.  For example, the National REIC database will contain all U.S.  earthquakes above about magnitude 3.5 and larger global events.  Other REIC databases will contain all recorded events and other waveforms of regional interest.  Application interfaces will be developed to push new information from one database to another following the CNSS authoritative region rules.

Other applications will obtain information for dissemination directly from the REIC archive system.  Legacy utilities such as QDDS, finger quake, and CUBE will be obsolete and no longer supported.

Regional processing centers have three primary responsibilities prior to submission to the National Archive: automatic processing, rapid processing, and post-processing.  We have learned from experience that a DBMS based approach for these functions is preferred.  We also recognize that if a DBMS is used, differing schema may be appropriate for each responsibility which may not be the schema used for the National Archive.

Automatic processing will be employed such that any given processing center is able to operate in isolation and such that no processing center is a single point of failure.  Processing centers will necessarily require functional overlap in order to accomplish these tasks.  Ideally any given processing center would be able to act as a backup for its nearest neighbors assuming that this does not require fiscally unreasonable data rates.  Further, automated processing should be standardized throughout the system.  While we recognize that certain parameters such as velocity models and attenuation relations are not homogeneous standardized methods should be employed throughout the system of processing centers.  Because identical input may not be guaranteed, neither can output.  Thus mechanisms must be developed to provide divergence for this data divergence.

Rapid processing is performed within about an hour of an event and provides human reviewed derived products.  Ideally, this process will be able to be performed remotely however reliance on 7-24 staffing may be required in the event of catastrophic communications failures.  As with automated processing, standardization will be required.

Post processing is performed within a few days and performs all the functions of rapid processing and additional tasks such as attempting to improve completeness and quality, and added value such as moment tensors, etc.  It may be appropriate for post-processing to be performed on a database physically separated from the rapid processing database.

Recognizing the desire for rapid information distribution, there may be established some real-time feeds to the National Archive System (NAS).  Results from both Rapid and Post processing are also fed to the NAS with the caveat that Rapid processing may be based on incomplete input.  Mechanisms must be established such that the NAS and other distribution centers are provided with information that is reasonably identical regardless of which regional processing center provides it.  If conflicts arise, rules must be in place (preferably automated) to provide a authoritative information to be propagated through the system.

Maintenance of some meta-data such as station information and response information will be the responsibility of the regional center.  Further because any given center must be able to operate autonomously, this information must reside at the regional level (i.e.  the NAS is not required to maintain robust, real-time links to provide these data to the regions).

## Distribution to archives - Tony's 01/27/01 contribution

Data that has been recovered by an ANSS network will be archived according to established criteria for long term access for research and analysis purposes.  In general, to assure authoritative quality control, data shall be archived by the source network unless a formal agreement is established with a cooperating network that performs the archiving functions.  Except for small events, data will be archived in two systems as part of the “dual use” philosophy, in which the same record is made available to the seismological community and to the engineering community in the formats and conventions customary for that customer group.  A side benefit of this philosophy is a naturally-occurring fully redundant archiving of the data.  The data shall be seamlessly available for both seismological analysis and engineering analysis.

Seismological data archives will be located in each region, or a subregion as appropriate.  Engineering data archives will be located in each region, or several regions may cooperate in establishing a shared archive and/or data center.

All archives shall be accessible via the Internet.  All archives thus become, in effect, one large virtual archive.  The interface requirements necessary for this virtual archive to function shall be established by ANSS and adhered to by participating networks.  At the same time, a key assurance of ANSS in data distribution by virtual means is that appropriate, full credit will be given to the source network.

### Strong motion data

Most ANSS strong motion data is expected to be recorded by free field stations, reference stations or small buildings.  The ANSS strong motion data archive shall be fully effective in accessing ground motion data.  Data sets from extensively instrumented structures will be more rare and produce highly individual data sets, and are best handled with specialized means by the networks recording them.  In any case, these records must be made available for public access within hours to a few days after significant records are obtained, in a COSMOS format.

Unless other arrangements are made, the strong motion data shall be archived and maintained by the source network, which is responsible for ongoing data quality, and for correcting errors that are discovered after the fact for previously archived data.  The network’s archive shall be the authoritative source of the data, although a copy may be maintained at a second network which has assumed a backup role for that data through an agreement.  Corrections or revisions of data or metadata at the cooperating network remain the responsibility of the source network, unless a different arrangement is established in the agreement with that network.

### Access to Archived Strong Motion Data via the COSMOS Virtual Data Center

All archived strong ground motion data shall be conveniently accessible to the public via the COSMOS Virtual Data Center.  The VDC will maintain extensive search engine capabilities so that records may be retrieved from the network archiving the data, based on parametric search results.  The data parameters are maintained at the VDC for the records that are maintained at the source networks.  The source networks shall pass to the VDC parametric information for recorded data as well as information regarding new stations, new data sets and so forth, so that the data center can keep its search engine tables updated.  Since the VDC does not serve as a source of the data, when corrections are necessary they need only be made on the data at the source network’s archive.  However, if major corrections or updates are made, the network should post a notice to that effect at the VDC of the changes made to make users aware of the changes.

## Standardized Network Data Interfaces - Phil 02/08/01

We anticipate that the ANSS will consist of a core set of software and hardware, possibly owned and operated by the ANSS project.  The ANSS operational staff will be responsible for operating this equipment and these stations.  However, a significant part of the total ANSS will consist of information contributed by local independent seismic networks.  Some seismic networks may want to continue to operate independently of ANSS.  These networks, such as private, or corporate seismic networks, may be willing to contribute information to the ANSS, and they may be interested in receiving information from the ANSS.

To facilitate cooperative, but independent, exchange of information, we propose that the ANSS establishes a set of data exchange interfaces.  Independent networks that are willing to contribute data to the ANSS would present the data to the ANSS through these interfaces.  Likewise, the ANSS would present its information to networks through these interfaces.  The effect of using these standardized network data interfaces is that all the network operations would be hidden behind the interfaces.  The ANSS would only need to know that a network supported the interfaces.  The networks themselves could then continue operate their network in the manner they prefer, without any other support for the ANSS.

The ANSS should establish a set of interfaces for three types of data: waveform data, parametric data, and infrastructure information.  For each type of data, the system should define a real-time interface, and a request oriented interface.  We are tempted to characterize these as a push interface, and a pull interface, however this may imply too much implementation.

### Waveform Data Interfaces

The ANSS real-time waveform data interface should be similar to the many existing real-time waveform exchanges formats that exist.  There will be a standard data packet format.  The data packet will include time information, station, channel, component, and count information.  Furthermore, the interface will allow a network to specify which stations, channels, and components they are interested in receiving.  A network can receive a real-time flow of waveform data by using this real-time waveform interface.

The request based waveform data interface should be similar to the “waveserver” interfaces offered by some seismic systems.  The interface allows the user to make a waveform data request.  The user specifies network, station, channel, start-time, and duration, and the waveserver retrieves the data and sends it to the caller.

### Parametric Data Interfaces

The ANSS real-time parametric data interface should be similar to something like the QDDS system operating in Northern California.  Parametric earthquake information such as phase picks, hypocenters, magnitudes, and amplitude information should be distributed through this interface.  Whenever a network produces a useful parameter that it wishes to supply to the world, it will distribute it in real-time, or near real-time through this interface.  Standard data formats will need to be established.

The request based parametric data interface would networks to make parametric data requests to supporting networks.  There are examples of such interfaces at seismic data centers.  These centers support earthquake catalog requests, request for phase picks, and other such non-real-time requests.  The ANSS should standardize these types of non-real-time parametric requests.

### Infrastructure Data Interfaces

The ANSS should establish infrastructure data interface to allow networks to exchange information about stations, instrumentation, and operations.  To use waveform data, or phase pick data, a network will need station information and instrumentation information about the sites that produced the data.  This network infrastructure information should be distributed through a real-time infrastructure interface.  The purpose of a real-time interface is to provide cooperating networks a way to dynamically learn about network changes.

The ANSS should also establish a standardized request based interface for exchanging infrastructure information.  Networks currently may exchange Dataless SEED volumes in order to keep up to date information about other networks configuration.  The ANSS should develop a standardized method of exchanging infrastructure information on a request basis.

The information included in infrastructure data sets may need to be expanded to include information such as contact lists, data server names, and ports.  The seismological infrastructure information will constitute only a portion of the infrastructure information needed to operate the ANSS.

## Operation of the System - Phil 02/08/01

Experience operating large seismic networks shows that substantial time and effort is required to operate these seismic networks.  The operational needs of these networks are becoming a limiting factor on the size of networks that can be operated by our organizations.  The larger networks are near the limit of what they can operate with their existing resources.  We feel that this situation can be alleviated somewhat by developing system which are easier to operate.  The ANSS development should have significant effort devoted to making the system easy to operate.  The following section describes some of our ideas for improving the operability of the ANSS.

### Configuration of System

Network and monitoring configuration should be easy to modify.  Configuration information includes things such as station location, instrument gain information, hostname information, channels used in magnitudes and others such information.  Establishing a configuration, and updating a configuration, on an earthquake monitoring system should be simple and automatic.

The ANSS configuration should be a “dynamic” if possible.  That is, if the network changes, new information should be entered into the system the system should incorporate and use the new configuration information.  We recognize that in practice, it is often quite difficult to achieve a fully dynamic system.  Often, configuration files are used to establish the system operating parameters.

In cases where the ANSS uses configuration files, the ANSS designers should consider storing configuration information in a database.  Use of a database is frequently a helpful organizing principle.  If application programs do not, or cannot be written to access a database directly, the ANSS may store the necessary configuration information in the database, and then run programs to extract the configuration information from the database and to format the information into an appropriate configuration file.

One characteristic of modern “systems” is standardized configuration files.  The BRTT Antelope system has a standard parameter file format which all of its program use for their configuration files.  Java programs use “properties” files.  This type of standardization of configuration files is a significant help when configuring and operating a system.

### Initialization of System

When the ANSS is started, it should initialize itself, and provide positive information that has restarted properly and is operational.  It would be particularly valuable if the system could demonstrate that all of the critical portions were operating.  It may be possible to design a system to inject some test data, possibly waveform data, into the system on initialization.  By injecting the proper data the entire processing thread could be exercised, data acquisition, phase picking, location, magnitude and alarm reporting.  Verification of the critical processing thread in this way would be very valuable.  It increases the reliability of the system, and decreases the operation load by making verification of a new configuration simpler.

### Reconfiguration of System

The ANSS should be reconfigurable while it operates.  Frequently systems are designed so that they read their configuration files on startup, and then run from memory based configurations after that.  The programs in the ANSS should accept a reconfiguration signal, or command, which cause the programs to re-read their configuration files without exiting.

System configurations versioning is often very valuable.  If a new configuration is put in place, and it is discovered to have problems, you can revert to a previously good configuration.  Also, users often are interested in what configuration was in use during a certain event.  The ANSS should support tracking of configurations by date, and the ability to recover a configuration that was in use at a particular time and date.

### Offline Testing

The ANSS should allow offline testing.  It is particularly important to perform offline testing of new configurations before they contribute information to the public.  The ANSS might be designed operate offline using simulated, or stored data.

The Earthworm system has, in the past, used a Quality Assurance suite of events.  The developers inject these events (sets of waveforms) into the system.  The number and location of events in the data set is known and can be compared to what the system produces.  This is a very valuable capability that should be supported by the ANSS.

### Alternate computers for maintenance

Hardware redundancy will be a robustness issue that the management and system engineers will need to resolve.  Redundancy improves robustness but also make the system more expensive and more complicated.  At a minimum, however, the ANSS should be designed so that a replacement system can be configured and installed rapidly while the original system is taken down for maintenance.  The suggestion here is that as each essential ANSS component is installed, the operations group should know how to replace it if it fails.

### Diagnostic Tools

The ANSS should provide the ability to diagnostic software and hardware problems while the system is in operation.

Various monitoring tools are needed such as tools to monitor hardware systems.  Commercial hardware monitoring techniques and protocols such as SNTP should be considered.  Network monitoring tools should be developed which can diagnosis problems such as high packet loss.

Software monitoring tools are also important.  Software such as real-time waveform viewing applications can be helpful.  Also software tools that allow the operators to view results any where in the processing chain would be very valuable.  A standard debugging technique is to follow the data, and see where the answers begin to get unreasonable.  The ANSS diagnostic software should support such data monitoring.

The operational burden is really quite high for the larger networks.  One reason is because diagnostic tools were not needed for a small network, and have not yet been developed for the larger networks.  ANSS should spend a substantial amount of time and resources developing diagnostic and monitoring tools for the system.

### Operational Procedures

The current seismic network operational staffs are drawn largely from academic organizations.  Emergency management operational staffs are drawn from military and public utility organizations.  For the ANSS to be a credible emergency management tool, it will need to establish systematic operational procedures.

As an example, one emergency response group visiting a participating seismic network described their operational procedures as follows: Each day the operations staff comes to the office.  They receive a printout of the days maintenance tasks.  The maintenance schedule identifies various activities as being performed daily, weekly, monthly annually.  This operations and maintenance system is used each day to identify which tasks are due.  It also logs and track what was done and when it was done.  This type of systematic operational procedure may be needed to operate a system as large as the ANSS.

### Documentation

The ANSS should provide some operational documentation.  Documentation is frequently neglected partially because each audience requires a different sort of document.  Here our concern is operating the system.  The ANSS should provide documentation on how to operate the essential hardware and software used by the system.

### Knowledge Base and Discussion Forum

Once the ANSS is in development, the users very quickly will learn it and will become a willing and capable support staff.  The ANSS should provide two things (1) a knowledge base so that users and find information about the system on their own, and (2) a discussion and problem-solving forum of some type such as an email distribution list which reaches other ANSS operators and users.  Providing these tools will allow the ANSS operators to help themselves.

# Appendices

## Appendix A - Revision History

02/21/01-02/23/01 – LSG major editing following 02/20 conference call.  Editing did not extend to the functional design section.

02/16/01 - LSG editing, Phil's contribution added in

02/13/01 - New contributions from Mitch, Kent, and Ray folded in; some LSG editing

02/08/01 - LSG begins messing around

02/07/01 - Revised to include Kent's 02/05 draft

02/01/01 - Compilation of the documents circulated in late January.  It has not been edited to reflect the proposed layout of the report.

## Appendix B - Meetings of the NAI subcommittee

In order to develop this report, the NAI subcommittee held several meetings and conference calls.

November  13-14, 2000 - Meeting in Pasadena, CA

Members:  Lind Gee,  Kent Lindquist, Phil Maechling, Tony Shakal, Mitch Withers

Liasons: Ray Buland

Visitors:  Kuo-wan Lee (for Tony Shakal)

January 11, 2001 - Conference call

Members:  Lind Gee,  Kent Lindquist, Tony Shakal, Mitch Withers

Liasons: Ray Buland

January 24-25, 2001 - Meeting in Golden , CO

Members:  Lind Gee,  Kent Lindquist, Tony Shakal, Mitch Withers

Liasons: Ray Buland, Steve Malone, Rick Benson (for Tim Ahern)

Guests:  Alex Bittenbinder, USGS; Danny Harvey, BRTT

February 7, 2001 - Conference call

Members:  Lind Gee, Kent Lindquist, Gary Pavlis, Tony Shakal, Mitch Withers

Liasons: Ray Buland, Steve Malone

February 14, 2001 - Conference call

Members:  Lind Gee, Doug Given, Steve Goldstein, Kent Lindquist, Tony Shakal, Mitch Withers

Liasons: Ray Buland, Steve Malone

February 20, 2001 - Conference call

Members:  Lind Gee, Steve Goldstein, Kent Lindquist, Gary Pavlis, Tony Shakal, Mitch Withers

Liasons: Tim Ahern, Ray Buland, Steve Malone

Visitors:  Kuo-wan Lee (for Tony Shakal)

## Appendix C – Data Products

Although this topic is properly the subject of the Subcommittee on Data Analysis and Products, we wish to address a few words on this subject.

One or more of the current seismic networks supports the following data types.  Most, or all, of these should be provided by the ANSS.  As discussed above, other derived data items will most certainly be developed and must be supported by the system.  This list should be used as an indication of the type of data currently generated by earthquake monitoring systems.  This list focuses primarily on real-time products.

- Real-time seismograms - Media, installation crews, researchers, and public like access to real-time waveforms.

- Phase picks - Currently single component phase picks are common.  Recently three component picks have been developed.

- Origin time - Time should be available in GMT format and local time formats.

- Hypocenter – Locations should be available in both degrees minutes and decimal degrees format.  Depth should be available.  Quality information such as number of phases used should be available.

- Distance from – Reports often include distance from small city, big city, quarry, faults, and historical large events.  Distance from stations is often requested.

- Magnitudes - A wide variety of magnitudes should be available including Mcd, Ml, Me, Mw.  Quality information should be available such as number of stations, and components used in solution.

- Earthquake reports - Event summaries are distributed in many ways including emails and pages.

- Acceleration reports - Peak accelerations recorded in the network should be available.  Current systems send pages as well as email messages listing acceleration recordings.

- Ground Motion Amplitudes – A wide variety of ground motion types are calculated including acceleration, velocity, displacement, spectral acceleration and velocity, and energy.

- Intensities listed by city or landmark – Intensity reports on a city-by-city basis may provide more useful information to the public than magnitude reports.

- Simpson maps – Web based maps showing recent events in a geographical area are popular and important.

- Catalog of quakes – Some users continue to favor text based earthquake catalog formats.

- Event review pages – Rapid evaluation of automatic solutions is supported by specially designed review pages that show waveforms, automatic phase picks and other information.

- Focal mechanisms – A variety of techniques are supported.

- ShakeMaps – Emergency response information is rapidly becoming essential information expected from all networks.

- Community intensity map – The public contributes to produce an intensity map based on public reports.

- Derived time series – The engineering community is vitally interested in both raw time series as well as in derived time series (acceleration, velocity and displacement).  Details about the processing steps used to obtain the product are essential to its use.

- Spectral data series – The engineering community also want response spectra, distributed in standard formats with documentation of damping values, periods, and the computational algorithm used.

- Station infrastructure information - Station coordinates, datalogger and sensor type, instrument response.  For strong-motion data, additional information about the near-surface geology and shear wave velocity are needed

Also, the system should allow specialized reports on subsets of all data - at all stages.  For example, it is increasingly common to request a subset of all the data available, and then to perform additional processing using just this data subset.  For example, network partners may be interested in information from ANSS stations co-located at their facilities.  The ANSS should support this type of data report.

## Appendix C - Acronyms used in this document

ANSS		Advanced National Seismic System

API		Application Programmer Interface

CNSS		Council of the National Seismic System

COTS		Commercial-off-the-shelf

CTBT		Comprehensive Test Ban Treaty

DBMS		DataBase Management System

DWDM	Dense Wave Division Multiplexing

IP		Internet Protocol

NAI		Network Architecture and Interconnections subcommittee

NAS		National Archive System

NEIC		National Earthquake Information Center

NPC		National Processing Center

QC		Quality-Control

REIC		Regional Earthquake Information Center

RFC		Request For Comments

SOH		State of Health

TCP		Transmission Control Protocol

TIC		Technical Integration Committee

UDWDM	Ultra-Dense Wave Division Multiplexing

USNSN 	United States National Seismographic Network

WDM		Wavelength Division Multiplexing

## Appendix D - ANSS Data Rate/Volume Estimates

A spreadsheet (available on request) has been prepared as a tool for examining ANSS data handling loads.  By adjusting parameters, most of the common data handling strategies currently in use can be modeled.  The model starts with a description of network elements including the number of stations per element, the number of components, sample rate, and field triggering percentage for both seismometers and accelerometers at each station, and the average number of bits per sample.  The bits per sample represent the mean output of a compression algorithm (including compression overhead) or the raw number of bits output from a digitizer.  Note that only the highest sample rate is considered.  This is a good approximation if there are no lower rate data streams or if the highest rate data stream is telemetered continuously.  It is a poor approximation if the highest rate data stream is triggered and a lower rate data stream is continuous.

Given this information, telemetry data rates, intermediate data buffer volumes, and archival volumes are estimated.  Data rates include 20% telemetry overhead (data record and protocol packet headers, etc.).  Intermediate data buffer storage is a common element of many data handling schemes, but may or may not be part of the ANSS design.  A typical implementation is that data is acquired, triggered, and buffered.  The triggers are associated into events.  The buffered data is then available for later processing for some short period of time to augment the automatic triggers.  This process is particularly important if not all of the continuous data is to be archived.  Archive volume calculations provide for the possibility of a different compression amount and for discarding additional data after telemetry from the field.

The examples provided start with about the right number of stations and some educated guesses about the configuration and rates of various ANSS elements.  In all examples, all urban stations contribute 200 Hz triggered data for about 1 hour/year.  (On the average, this is probably an extravagant estimate as only a few minutes are typically recorded for each event of interest---typically magnitude 5 or larger within a few 10s of kilometers.)  In all examples, the national backbone stations are limited to a sample rate of 50 Hz due to the large distance between them, but are archived continuously to support teleseismic work.

Four examples are provided: a worst case (maximum data load), a minimum (data load) model, and two compromise models.  Things that affect the model are the initial sample rates, whether data is compressed from the field and/or into the archive, and whether all data is telemetered and/or archived.  The figures in the worst case model are truly frightening: nearly 50 Mbps telemetry rates and over 150 TBytes/year archival storage.  Note that these estimates don't include any data exchange for redundant monitoring or archiving purposes.  The final ANSS aggregate would probably be at least two or three times this value.  Using compression (100 sps model) reduces the telemetry rates to about 16 Mbps and archiving only events from regional and urban stations reduced the archive to about 3.7 TBytes/year (near Tim Ahern's original estimate).

## Appendix E - ANSS Goals

In order for the NAI subcommittee to proceed, it was necessary to identify the performance goals of the ANSS.  From these goals, system specifications may be determined and appropriate design decisions discussed.  Unfortunately, this has been a difficult process, in part since the USGS Circular 1188 did not fully specify the performance goals.

### Products

Advanced infrastructure for seismic monitoring

Gather critical technical data

Provide earthquake information products

Do strong-motion monitoring (nothing mentioned about doing it in real-time.)

Automatic broadcast of information for immediate assessment of earthquake's impact.

In large urban areas regional centers will produce ground shaking maps.

Provide warning for tsunamis and volcanic eruptions.

Where feasible do early warning seconds before strong shaking arrives.

Information products must be timely and also appropriate for long-term needs.

Innovative and customized services provided to users needing info and assistance.

### Network organization and structure

Do continuous monitoring nationwide but focus on regions of moderate to high risk

Modernize and expand infrastructure.

Use modern communication networks and processing centers

Components must function in a well-organized way.

Common infrastructure integrated with robust application software.

Should be designed, created and operated using a systems engineering approach.

Install robust hardware and software for real-time data acq., processing and automatic exchange of network data among national and regional network recording centers.

Modernize regional centers to uniform standards to communicate with each other, to the national net and to the public.

NEIC is focal point for all seismic monitoring.

NEIC should serve as backup for all regional networks and data centers and be able to replicate their services should a regional center fail.

Integrate ALL signals from ground-deformation sensors including GPS (!!!)

### Standards

High performance standards

National and regional monitoring centers should have robust capabilities for RT acq, processing and exchange.

Set standards and performance goals.

Standardize collection, exchange and archiving

Integrate existing capabilities and expertise and use a system engineering approach to create a master plan which includes performance goals, standards and procedures.

Standardize data acq and processing software.

NEIC should lead in setting standards for data formats, processing and exchange.

Standards for data collection do NOT require stopping using existing hardware and software but rather prescribe guidelines to integrate with ANSS.

Performance goals should come from a review of regions throughout U.S. to develop specific plans to ensure:

1.  continuous surveillance

2.  reliable delivery of time-critical info in emergency situations

3.  real-time responsiveness of national system 24x7

### Archive

Establish effective data management scheme for integration, archiving and distribution of seismic data.

Investment is needed in data management facilities to organize and distribute raw seismic data for research purposes.

NEIC is the national distribution point for parametric earthquake data, catalogs and general information.

Facilities larger (than NEIC) with more specialized functions are need to archive and distribute raw seismic data.

ANSS should expand IRIS DMS and/or various regional centers such as NCEDC to accommodate increased data  OR build new facilities based on IRIS and NCEDC models.

### Specific Numbers

Install new stations: 100-NSN, 1000-modern regional, 3,000-free-field SM 3,000-structural SM

Funding for up to 20 regional centers

National Steering Committee - There will be 7 regions with regional centers (didn't say about other recording and processing centers).